[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A612  





                 
      Date: 13-Jan-2023 (AN)
B.Tech III-Year II- Semester External Examination, January-2023 (Supplementary)
MEASUREMENTS AND INSTRUMENTATION (EEE)
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	Define accuracy.
	L1
	CO1
	[2M]

	2
	Define the term ‘burden’ in instrument transformers.
	L1
	CO2
	[2M]

	3
	List the errors of wattmeter.
	L1
	CO3
	[2M]

	4
	Define Quality factor.
	L1
	CO4
	[2M]

	5
	Discuss spectrum analysis
	L2
	CO5
	[2M]

	6
	Infer advantages of electrical transducers.
	L2
	CO6
	[2M]

	7
	Explain how range of ammeter can be extended.
	L2
	CO2
	[2M]

	8
	Give example of transfer instrument.
	L2
	CO4
	[2M]

	9
	Explain frequency measurement using CRO
	L2
	CO6
	[2M]

	10
	Identify the various bridges for measurement of inductance and capacitance.
	L1
	CO5
	[2M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain construction and operating principle of Moving Iron instruments.
	L2
	CO1
	[5M]

	
	b)
	List the errors of M.I instruments.
	L1
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Develop expression for ratio error in CT.
	L4
	CO2
	[5M]

	
	b)
	Develop expression for phase angle error in CT.
	L4
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain construction and working of single phase induction type energy meter.
	L2
	CO3
	[5M]

	
	b)
	An energy meter makes 5 revolutions in 20 sec.  Determine load in kW if meter constant is 600 rev/kwh.
	L5
	CO3
	[5M]

	
	
	
	
	
	

	14.
	
	Develop expression for low resistance measurement using Kelvin’s Double bridge method.
	L4
	CO4
	[10M]

	
	
	
	
	
	

	15.
	a)
	Explain working of Heterodyne wave analyzer with the help of block diagram.
	L2
	CO5
	[5M]

	
	b)
	List the applications of wave analyzer
	L1
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain working of LVDT.
	L2
	CO6
	[5M]

	
	b)
	List the applications of LVDT.
	L1
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	A milli ammeter of 2.5 ohms resistance reads up to 100 mA.  Determine the resistance which is necessary to enable it to be used as

i) A voltmeter reading upto 10 V

ii) An ammeter reading upto 10 A.
	L4
	CO1
	[4M]

	
	b)
	Explain use of PT with the help of a connection diagram.
	L2
	CO2
	[3M]

	
	c)
	Explain compensation methods of dynamometer type instruments.
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	List the disadvantages of maxwell inductance bridge.
	L2
	CO4
	[4M]

	
	b)
	Explain phase measurement using CRO.
	L2
	CO5
	[3M]

	
	c)
	Explain working of Tachometers.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 2

_1604898669.unknown

