[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7B620  





                 
      Date: 11-Jan-2023 (AN)
B.Tech III-Year II- Semester External Examination, January-2023 (Supplementary)
METROLOGY  AND  INSTRUMENTATION (ME)
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	Define tolerances.
	L1
	CO1
	[2M]

	2
	Differences between surface roughness and surface waviness.
	L2
	CO2
	[2M]

	3
	Identify the types of errors in threads.
	L1
	CO3
	[2M]

	4
	Classify the different types of errors.
	L2
	CO4
	[2M]

	5
	Write the working principle of manometer.
	L2
	CO5
	[2M]

	6
	Write the working principle of torsion manometer.
	L2
	CO6
	[2M]

	7
	Differences between Line and End standards.
	L2
	CO1
	[2M]

	8
	Define the Effective diameter.
	L1
	CO3
	[2M]

	9
	Describe the applications of Thermocouple.
	L2
	CO5
	[2M]

	10
	Illustrate the principle of diaphragm gauge.
	L3
	CO2
	[2M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Differentiate Hole and Shaft base systems.
	L3
	CO1
	[5M]

	
	b)
	Write short notes on Sine bar along with a neat sketch.
	L1
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Describe the working of Go and No Go gage.
	L2
	CO2
	[5M]

	
	b)
	Illustrate the construction and working of Tool maker’s microscope.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain the method of measuring angle of thread and thread pitch by using two wire method.
	L2
	CO3
	[5M]

	
	b)
	Evaluate the expression for chordal addendum and gear tooth thickness of a spur gear.
	L5
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Illustrate the generalized measuring system and explain the various elements of it with an example.
	L3
	CO4
	[5M]

	
	b)
	Discuss the source of errors in the measuring instruments.
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain the measurement of pressure using Mc Leod Pressure gauge.
	L2
	CO5
	[5M]

	
	b)
	Identify the laws of thermos electricity and explain about thermistor.
	L1
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain theory and construction of piezo electric transducer to measure the displacement.
	L2
	CO6
	[5M]

	
	b)
	Describe the working principle of vibrometer.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Describe various types of micrometers.
	L2
	CO1
	[4M]

	
	b)
	Explain the interchangability.
	L2
	CO2
	[3M]

	
	c)
	Derive an expression for best wire size in screw thread.
	L6
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain the terms of accuracy and precision of measuring instruments.
	L2
	CO4
	[4M]

	
	b)
	What are the advantages and applications of ionization pressure gauge?
	L1
	CO5
	[3M]

	
	c)
	Illustrate the working principle of seismic instruments with neat sketch.
	L3
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 2

_1604898669.unknown

