[image: image5.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A714  





                 
      Date: 12-Jan-2023 (FN)
B.Tech IV-Year I- Semester External Examination, January-2023 (Regular & Supplementary)
POWER SYSTEM ANALYSIS AND CONTROL (EEE)
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	What is an incidence, Matrix? Explain with a suitable example.
	L1
	CO1
	[2M]

	2
	Draw the block diagram of a isolated power system.
	L3
	CO2
	[2M]

	3
	Differentiate between single area and 2 area control 
	L4
	CO3
	[2M]

	4
	Enumerate necessity of power flow studies.
	L3
	CO4
	[2M]

	5
	Write short notes on Steady state stability and transient stability. 
	L2
	CO5
	[2M]

	6
	Draw the Heat curve and write short notes on it.
	L6
	CO6
	[2M]

	7
	Define slack bus? And what is the importance of it.
	L3
	CO4
	[2M]

	8
	How does PV bus influence the load flow solution?
	L2
	CO4
	[2M]

	9
	Give the advantages of optimal allocation of generators.
	L2
	CO6
	[2M]

	10
	Define synchronizing power coefficient.
	L3
	CO5
	[2M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Show that YBUS = AT Ypre A.
	L6
	CO1
	[5M]

	
	b)
	For the three-bus network shown in the following figure, build ZBus
[image: image2.png]™)
bus
Hfere




	L5
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Draw the transfer function of Speed governing system and deduce the necessary equations.
	L4
	CO2
	[5M]

	
	b)
	Draw the schematic of excitation system model.
	L4
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Derive necessary equations to determine load frequency control of two area machine for a uncontrolled case.
	L3
	CO3
	[5M]

	
	b)
	Explain load frequency control and Economic dispatch control  in a two area system .  
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Enumerate the features of  Newton Raphson method for the convergence of load flow solution with a flow chart. 
	L6
	CO4
	[5M]

	
	b)
	Figure. shows a three bus power system. Bus 1 : Slack bus, V= 1.05/00 p.u. Bus 2 : PV bus, V = 1.0 p.u. Pg = 3 p.u. Bus 3 : PQ bus, PL = 4 p.u.,           QL = 2 p.u. Carry out one iteration of load flow solution by Gauss Seidel method.

[image: image3.png]04





	L5
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Describe the methods to improve the stability 
	L1
	CO5
	[5M]

	
	b)
	Apply the knowledge of Equal area criterion with an example.
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	A Two bus system shown in figure. If 100MW is transmitted from plant 1 to load a transmission loss of 10MW is incurred. Find the required generation for each plant and the power received by the load when the system λ is Rs25/MWh

The Incremental fuel costs of the two plants are given below.

dC1/dPG1=0.02PG1+16.00 Rs/MWh

dC1/dPG2=0.04PG2+20.00 Rs/MWh


[image: image4.png]Plant1
1 Plant2
Pg2

Pgl Load PD2





	L6
	CO6
	[5M]

	
	b)
	Write short notes on transmission line losses , Loss coefficients in a power system. 
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Explain ‘Equal Area Criterion’ of stability and clearly determine how you can find the stability limit of a synchronous motor when there is a sudden change in Mechanical power input to the machine.
	L2
	CO1
	[4M]

	
	b)
	Derive the expression for finding out the critical clearing angle calculation
	L3
	CO2
	[3M]

	
	c)
	Explain ZBus formation and ZBus building algorithm?
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Briefly discuss about DC load flow method and its merits and demerits
	L2
	CO4
	[4M]

	
	b)
	Why transient state stability limit is less than steady state stability limit?
	L4
	CO5
	[3M]

	
	c)
	Elaborate on cost curve  
	L3
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

_1604898669.unknown

_1731933663

