[image: image3.png]M Inbox (1240) - susmithajiugutt. X | M Networks sreenichiimages -sus X @ circuits images x Beraes x| + lel@l 8 ]

C @ File | C/Users/SUSMITHA%20CHARAN/Downloads/circuits %20images.pdf % @

Apps @ National Tsing Hua..  #) RMIT Apply Online..  § Fundamentals of EL. & International - Univ.. 8 Evidence and Docu.

circuits images

Z45=20 £0°Q

Uz
lsc

Zpo=15 220°Q

© e o @ _[¢clo



[image: image4.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS





[image: image5.png]M Inbox (1241) - sust X | M Networks sreenidh X | @ cicuitsimages X | @ Howdoyouinsert X | & Downloads x | @ craitsimages X @ crcuitsimages X+ elal] *

C @ File | C:/Users/SUSMITHA%20CHARAN/Desktop/circuits%20images.pdf * @

Apps @ National Tsing Hua..  #) RMIT Apply Online..  § Fundamentals of EL. & International - Univ.. 8 Evidence and Docu.

wue

){ 10Q = 1H
0V 1

it)

10 pF

e o @ 60




Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6A304  





                 
      Date: 05-Sept-2023 (FN)
B.Tech II-Year I- Semester External Examination, Aug/Sept - 2023 (Supplementary)
Circuits and Networks-II (EEE)
Time:
 3 Hours







                    Max.Marks:75
[image: image6.png]M Inbox (1242)-sust X | M Networkssreenidh X @ cicuitsimages X @ Howdoyouinsert X | & Downloads x | @ crctsimages x| @ ccuitsimages X | + elal] *

C @ File | C:/Users/SUSMITHA%20CHARAN/Downloads/circuits%20images.pdf #* @

Apps @ National Tsing Hua..  #) RMIT Apply Online..  § Fundamentals of EL. & International - Univ.. 8 Evidence and Docu.

10Q 05H

150 sin (200t + 9) i g o 200F
i(t)

@ e o @ /¢|o





 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:25
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Distinguish between Star & Delta connection of 3-ɸ system.
	L3
	CO1
	[2M]

	2
	Find inverse laplace transform of [image: image2.png]S+
= (543)°




	L5
	CO2
	[2M]

	3
	What are the necessary conditions of driving point function.
	L2
	CO3
	[2M]

	4
	What are the conditions of reciprocity & symmetry in terms of  Z, Y & ABCD parameters.
	L2
	CO4
	[2M]

	5
	Define characteristic impedance & propagation constant.
	L1
	CO5
	[2M]

	6
	Explain frequency convolution of Fourier transform.
	L2
	CO6
	[3M]

	7
	Find I(s) for the following circuit.
	L5
	CO2
	[3M]

	8
	Test results for a two port network are (a) V1=50V , I1=2.1A, I2=-1.1A with port 2 short-circuited (b) V2=50V, I2=3A, I1=-1.1A, with port 1 short-circuited. Find Y parameters.
	L5
	CO4
	[3M]

	9
	Write short notes on T-section filters.
	L1
	CO5
	[3M]

	10
	In a balanced three phase system, the power is measured by two-wattmeter method and the ratio of two wattmeter readings is 4:1. The load is inductive. Determine the load power factor.

	L3
	CO6
	[3M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	[image: image7.png]M Inbox (1242)-sust X | M Networkssreenidh X @ cicuitsimeges X @ Howdoyouinsert X Downloads X | @ cicuitimages X | @ cicvitsimages X | + l=l@] & ]

C @ File | Cy/Users/SUSMITHAS:20CHARAN/Downloads/circuits3%20images.pdf

D Apps @ NationalTsingHus..  #) RMITApply Online..  § Fundamentalsof €l & Intermationsl - Univ.. ) Evidence and Docu




A 3-ɸ supply with a line voltage of 250V has an unbalanced delta connected load as shown in the figure1.Determine (i) Phase currents(ii) Line currents (iii)Total Active power (iv) Total Reactive power


	L4
	CO1
	[5M]

	
	b)
	Explain how 3-ɸ reactive power can be measured using single wattmeter along with its circuit diagram & phasor diagram.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	[image: image8.png]M Inbox (1242)-sust X | M Networkssreenidh X @ cicuitsimages X @ Howdoyouinsert X | & Downloads x | @ crctsimages x| @ ccuitsimages X | + elal] *

C @ File | C:/Users/SUSMITHA%20CHARAN/Downloads/circuits%20images.pdf #* @

Apps @ National Tsing Hua..  #) RMIT Apply Online..  § Fundamentals of EL. & International - Univ.. 8 Evidence and Docu.

Z(s) By

e o @ 60



In the network shown below the switch is closed at t=0.Assume all initial conditions as zero. Find i(t), di(t)/dt, d2i(t)/dt2 at t=0+.


	L5
	CO2
	[5M]

	
	b)
	[image: image9.png]M Inbox (1242)-sust X | M Networkssreenidh X @ cicuitsimages X @ Howdoyouinsert X | & Downloads x | @ crctsimages x| @ ccuitsimages X | + elal] *

C @ File | C:/Users/SUSMITHA%20CHARAN/Downloads/circuits%20images.pdf #* @

Apps @ National Tsing Hua..  #) RMIT Apply Online..  § Fundamentals of EL. & International - Univ.. 8 Evidence and Docu.

ags 10,08




In the network shown below, determine i(t) using differential equation approach for ɸ=300.


	L4
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Find the driving point input impedance of the following network shown below.

[image: image10.png]M Inbox (1243)-sust X | M Networkssreenidh X @ cicuitsimages X @ Howdoyouinsert X | & Downloads x | @ crctsimages x| @ ccuitsimages X | + elal] *

C @ File | C:/Users/SUSMITHA%20CHARAN/Downloads/circuits%20images.pdf #* @

Apps @ National Tsing Hua..  #) RMIT Apply Online..  § Fundamentals of EL. & International - Univ.. 8 Evidence and Docu.

f(t)

@ e o @ /¢|o




	L5
	CO3
	[5M]

	
	b)
	[image: image11.png]M Inbox(1243)-sus: X | M Networkssreenidh X @ cicuitsimeges X @ Howdoyouinser: X | & Downlosds X | @ cieutsimages X | @ ciruitsimages x| +

C @ File | C/Users/SUSMITHASK20CHARAN/Dovwnioads ciruits20images.pdf * 0

National Tsing Hua.. 4 RMIT Apply Onfine...  § Fundamentals of .. & International - Univ.. 8 Evidence and Docu.

fiz)

8=




A network and its pole zero plot is shown below. Determine R, L & C IF Z(j0)=1Ω.


	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	[image: image12.png]M Inbox (1243)-sust X | M Networkssreenidh X @ cicuitsimages X @ Howdoyouinsert X | & Downloads x | @ crctsimages x| @ ccuitsimages X | + elal] *

C @ File | C:/Users/SUSMITHA%20CHARAN/Downloads/circuits%20images.pdf #* @

Apps @ National Tsing Hua..  #) RMIT Apply Online..  § Fundamentals of EL. & International - Univ.. 8 Evidence and Docu.




Determine Y-parameters of the network shown below.


	L5
	CO4
	[5M]

	
	b)
	The currents I1 & I2 entering at Port1 & Port 2 respectively of two port network are given by I1= 0.5V1 – 0.2V2, I2= – 0.2V1 + 0.2V2. Find ABCD parameters.
	L4
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Determine the cut-off frequency, attenuation constant & characteristic impedance of constant K-low pass filter.
	L5
	CO5
	[5M]

	
	b)
	Design π-section m-derived high pass filter having a design impedance of 600Ω, cut off frequency of 4KHz and an infinite attenuation at 3.6 KHz.
	L6
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Find the exponential Fourier series of waveform shown below and draw its magnitude spectrum.
[image: image13.png]M Inbox (1243)-sust X | M Networkssreenidh X @ cicuitsimages X @ Howdoyouinsert X | & Downloads x | @ crctsimages x| @ ccuitsimages X | + elal] *

C @ File | C:/Users/SUSMITHA%20CHARAN/Downloads/circuits%20images.pdf #* @

Apps @ National Tsing Hua..  #) RMIT Apply Online..  § Fundamentals of EL. & International - Univ.. 8 Evidence and Docu.





	L5
	CO6
	[5M]

	
	b)
	Find the Fourier transform of the function below


	L5
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	In the network shown below, the switch is closed at t=0 sec. Find v(t) for t>0.


	L4
	CO1
	[5M]

	
	b)
	Obtain an expression for phase angle of star connected load by using two watt meter method and by using necessary phasor diagrams?
	L4
	CO2
	[5M]

	
	
	
	
	
	

	18.
	a)
	Explain odd wave & even wave symmetry of a function.
	L2
	CO4
	[5M]

	
	b)
	Find Z-parameters  for the following network.


	L5
	CO5
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 3 of 3

