[image: image4.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 8A304 





                 
      Date: 08-Aug-2023 (FN)
B.Tech II-Year I- Semester External Examination, Aug - 2023 (Supplementary)
ELECTRICAL CIRCUITS AND NETWORKS – II (EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Three loads, each of resistance 30, are connected in star to a 415 V, 3-phase supply. Determine the system phase voltage.
	L5
	CO1
	[2M]

	2
	Write the expression for critical resistance and damping ratio of RLC series circuit.
	L1
	CO2
	[2M]

	3
	Find the DC Gain of the function H(s)=20(s+2)/(s2+2s+5)
	L3
	CO3
	[2M]

	4
	What is two port network?
	L1
	CO4
	[2M]

	5
	What are the Applications of Filter?
	L1
	CO5
	[2M]

	6
	Explain periodic function with example?
	L2
	CO6
	[2M]

	7
	Write the expression for the instantaneous values of emfs in a 3 phase circuit.
	L1
	CO1
	[2M]

	8
	What is reciprocal network?
	L1
	CO4
	[2M]

	9
	If a system has a voltage gain of 40 dB, find the applied voltage if the output voltage is 7V.
	L3
	CO6
	[2M]

	10
	Explain the concept of complex frequency?

	L6
	CO3
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Derive the relation between a line current and phase current and a line voltage and a phase voltage related to delta connected load?
	L5
	CO1
	[5M]

	
	b)
	Two wattmeters are connected to measure the input power to a balanced 3-phase load by the two-wattmeter method. If the instrument readings are 8kW and 4kW,

 find (i) the total power input and   (ii) the load power factor. 
	L3
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Derive the expression for transient response of series R-L circuit driven by sinusoidal excitation by using Laplace transform method?
	L5
	CO2
	[5M]

	
	b)
	In the circuit shown below find out the expressions for the current i1 and i2 when the switch is closed at time t= 0  

[image: image1.emf]
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Obtain the transform impedance of an inductor?
	L3
	CO3
	[5M]

	
	b)
	Compute the driving point impedance of the network in fig.

[image: image2.png]Z(s)




	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Determine the admittance parameters of the T network shown in Fig.

[image: image3.jpg]4Q

+ O

v,





	L5
	CO4
	[5M]

	
	b)
	Discuss the condition of Symmetry in Y-Parameter representation?
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain the classification of pass band and stop band in detail.
	L6
	CO5
	[5M]

	
	b)
	Obtain the values of L and C for a prototype low pass filter with R0=500 ohm and cut off frequency fc=2kHz.
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	List out the fourier transform properties?
	L6
	CO6
	[5M]

	
	b)
	Explain in brief concept of even and odd functions?
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	List any four advantages of 3-phase system over 1-phase system?
	L6
	CO1
	[4M]

	
	b)
	Explain over damped response of series RLC circuit for DC excitation?
	L2
	CO2
	[3M]

	
	c)
	What are the properties of transfer function?
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Express Z-parameters in terms of h-parameters.
	L5
	CO4
	[4M]

	
	b)
	What is a filter? Explain about various types of filters.
	L1
	CO5
	[3M]

	
	c)
	Calculate a0 for the following
 (i) 4 sin4t 

(ii) 4 cos4t
	L3
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 2 of 2

