[image: image4.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A406





                 
      Date: 09-Aug-2023 (FN)
B.Tech II-Year II- Semester External Examination, Aug - 2023 (Supplementary)
POWER SYSTEMS - I (EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	What do you mean by Economizer in a steam power plant? Explain the purpose of it.
	L1
	CO1
	[2M]

	2
	Explain the function of Control rods in fission reaction and giveany two examples.
	L2
	CO2
	[2M]

	3
	Explain why transposition of lines is done.
	L2
	CO3
	[2M]

	4
	Differentiate between Nominal –T and Nominal-[image: image2.png]


 representation of a Transmission line.
	L4
	CO4
	[2M]

	5
	Define string efficiency and explain its significance?

	L1
	CO5
	[2M]

	6
	Name different types of Cables based on the Operating Voltage.
	L1
	CO6
	[2M]

	7
	Define Penstock and explain its importance in a Hydro-Electric Power Plant.
	L1
	CO1
	[2M]

	8
	Define GMR and GMD of a transmission line.
	L1
	CO3
	[2M]

	9
	What is Transmission Efficiency? Write the expression of transmission efficiency.
	L1
	CO5
	[2M]

	10
	List the different types of insulating materials.

	L1
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	
	Explain the various parts of Steam Power Station with a neat sketch.
	L2
	CO1
	[10M]

	
	
	
	
	
	

	12.
	a)
	Compare Thermal and Fast Breeder Reactors.
	L5
	CO2
	[5M]

	
	b)
	What are the considerations in selecting site for Nuclear Power Plant?
	L1
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Derive the expression for inductance of Three Phase unsymmetrical spaced transmission line.
	L2
	CO3
	[5M]

	
	b)
	A 3-phase transmission line has conductor diameter of 2cm each and they are spaced as in the following diagram. Then calculate the inductance of the line per km per phase, if the system is transposed.


[image: image3.png]4m

8m




	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	With the help of near circuit and phasor diagrams, derive the expressions for voltage regulation and efficiency of short transmission line.
	L2
	CO4
	[5M]

	
	b)
	Explain the effect of load power factor on Voltage regulation and efficiency of transmission line.
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Derive the expression for string efficiency.
	L2
	CO5
	[5M]

	
	b)
	Explain the methods to improve string efficiency.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Describe the construction of cables.
	L1
	CO6
	[5M]

	
	b)
	Derive the expression for Capacitance of Single Core Cable.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Water for a hydro-electric station is obtained from a reservoir with a head of 100metres. Calculate the electrical energy generated per hour per cubic metre of water if the hydraulic efficiency=0.86 and electrical efficiency=0.92.
	L3
	CO1
	[4M]

	
	b)
	List out merits and demerits FBR.
	L1
	CO2
	[3M]

	
	c)
	A 3-phase overhead transmission line has its conductors arranged at the corners of an equilateral triangle of 2m side. Calculate the capacitance of each line conductor per km. Given that diameter of each conductor is 1.25cm.
	L3
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Describe the generalized constants (ABCD) for Long transmission 
lines-Rigorous method.
	L1
	CO4
	[4M]

	
	b)
	Write the factors, which can affect the skin effect in the transmission lines.
	L1
	CO5
	[3M]

	
	c)
	Explain about the insulation resistance of single core cable.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

_1753077861

