[image: image4.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5AC41  





                 
      Date: 17-Aug-2023 (FN)
B.Tech II-Year II- Semester External Examination, Aug - 2023 (Supplementary)
Elements of Electrical Engineering (ME)
Time:
 3 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:25
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Estimate values of the resistors, when two resistors are connected in parallel, their equivalent resistance is 2Ω, and in series, their equivalent resistance is 9Ω.
	L2
	CO1
	[2M]

	2
	Define “J” operator? and How it is used in electrical circuit analysis.
	L1
	CO2
	[2M]


	3
	Recall voltage regulation in transformer and its significance.    
	L1
	CO3
	[2M]

	4
	Define Transformer.
	L1
	CO4
	[2M]

	5
	Discuss How do you make Single-Phase Induction Motor Self-Starting.
	L2
	CO5
	[2M]

	6
	Describe the controlling torque.
	L1
	CO6
	[3M]

	7
	Define maximum power transformation theorem.
	L1
	CO1
	[3M]

	8
	List the Losses In Transformer.
	L1
	CO4
	[3M]

	9
	Define Slip.
	L1
	CO5
	[3M]

	10
	State Faraday’s law of electromagnetic induction.


	L1
	CO2
	[3M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Solve the current in 10Ω resistor by using superposition theorem.

[image: image1.png]100 X!

50V 25V




	L3
	CO1
	[5M]

	
	b)
	If the 12Ω resistor draws a current of 1A as shown in the figure, Compute the value of resistance R is               

[image: image2.png]



	L3
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Examine the form factor and peak factor of full wave rectified sine wave shown in figure

[image: image3.png]+w?





	L3
	CO2
	[5M]

	
	b)
	A coil of resistance 20 ohms and inductance 100mH is connected in series with a capacitance of 40 microfarad across 100 V, 50 Hz ac supply. Solve    (i)impedance    (ii) current
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Compute the EMF equation of DC generator.
	L3
	CO3
	[5M]

	
	b)
	Sketch & illustrate the types of DC Generator with their equations.
	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Derive the Equivalent circuit diagram of a single phase transformer and explain each parameters.
	L3
	CO4
	[5M]

	
	b)
	The test results of 2.5kVA, 230/115V single-phase transformer are as follows:

OC Test : 115V, 1.2A, 60W

SC Test : 12V, 10.86A. 120W Find efficiency at full load, 0.8 pf
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Solve the phase relations between line and phase quantities in a 3-ϕ balanced Star connected system
	L3
	CO5
	[5M]

	
	b)
	A three phase balanced delta load of (4+j8)Ω is connected across a 400V,3-ϕ balanced supply. Solve the phase currents and line currents. Assume the phase sequence RYB
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Sketch and Explain the operating principle of Moving Iron type instrument.
	L2
	CO6
	[5M]

	
	b)
	List the advantages and disadvantages of Moving instrument.
	L3
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	State and explain Kirchhoff’s Laws
	L2
	CO1
	[4M]

	
	b)
	What is the principle of mutual induction?
	L1
	CO2
	[3M]

	
	c)
	List the applications of DC Shunt and DC series Motor.
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Differentiate Ideal vs Practical Transformer.
	L4
	CO4
	[4M]

	
	b)
	A 3-φ 4 pole induction motor is supplied from 3φ 50Hz ac supply. Compute
(i) synchronous speed

(ii) rotor speed when slip is 4%
	L2
	CO5
	[3M]

	
	c)
	Difference between Moving Coil and Moving Iron Instrument.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 2 of 2

