[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6A510 





                 
      Date: 14-July-2023 (FN)
B.Tech III-Year I- Semester External Examination, July - 2023 (Supplementary)
POWER SYSTEMS-II (EEE)
Time:
 3 Hours







                    Max.Marks:75
             Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:25

[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	List the advantages of shunt capacitors. 
	L1
	CO1
	[2M]

	2
	Write a short note on Block-Rate tariff.
	L2
	CO2
	[2M]

	3
	Give the comparison of indoor and outdoor substation.
	L2
	CO3
	[2M]

	4
	State the applications of series reactors.
	L1
	CO4
	[2M]

	5
	Determine the effects of negative sequence components.
	L5
	CO5
	[2M]

	6
	Compare Ac and Dc distribution system.
	L5
	CO6
	[3M]

	7
	List different methods of voltage control.
	L1
	CO1
	[3M]

	8
	Discuss the effect of ungrounded neutral.
	L2
	CO3
	[3M]

	9
	Organize the severity of different unsymmetrical faults .
	L6
	CO5
	[3M]

	10
	A transformer is rated at 11 kV/0.4 kV,400 kVA,6% reactance. Determine the short circuit MVA of the transformer when connected to infinite bus.


	L5
	CO3
	[3M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain various methods of voltage control in power system.
	L6
	CO1
	[5M]

	
	b)
	Explain the power factor improvement by synchronous condenser, discuss its advantages.
	L6
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Discuss the different classifications of costs of electrical energy.
	L2
	CO2
	[5M]

	
	b)
	A consumer whose maximum demand is 90 kW,p.f 0.8 lagging and load factor 55%.the tariff used is Rs 65 per kVA of maximum demand plus 10 paise per kWh consumed calculate annual bill of consumer.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain arrangement of sectionalized single bus bar system and discuss advantages and disadvantages.
	L2
	CO3
	[5M]

	
	b)
	Distinguish air insulated and gas insulated substation.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Two generating stations having short circuit capacities of 1100MVA and 700MVA respectively and operating at 11kV are linked by an interconnected cable having reactance of 0.5 ohm per phase. determine the short circuit capacity of each station.
	L5
	CO4
	[5M]

	
	b)
	Explain reactor control of short circuit currents. Discuss advantages.  
	L6
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Derive the expression for fault current for line-to-line fault by symmetrical components method.
	L6
	CO5
	[5M]

	
	b)
	The zero and positive sequence components of R phase are as follows

ER0=(0.5-j0.866) V ER1= (2∠00) V

If the phase voltage ER=3∠00. Calculate the negative sequence component of red phase and the phase voltages of EY and EB
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Briefly Distinguish underground and overhead distribution system.
	L2
	CO6
	[5M]

	
	b)
	Explain briefly about ring main distribution with suitable diagram. Discuss its advantages. 
	L6
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Give the reason why reactive power flow will affect voltage.
	L2
	CO1
	[4M]

	
	b)
	Write short notes on three-part Tariff.
	L1
	CO2
	[3M]

	
	c)
	Draw the diagram of single line bus bar.
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Discuss the significance of short circuit calculations. 
	L2
	CO4
	[4M]

	
	b)
	Write short notes on negative sequence components.
	L1
	CO5
	[3M]

	
	c)
	Discuss the various requirements of distribution system.


	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 2 of 2

_1604898669.unknown

