[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A817  





                 
      Date: 04-July-2023 (FN)
B.Tech III-Year I- Semester External Examination, July - 2023 (Supplementary)
HIGH VOLTAGE ENGINEERING (PE-IV)  (EEE)
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	What are the dielectric properties of insulation?
	L1
	CO1
	[2M]

	2
	Name the theories explaining the breakdown in gaseous insulation.
	L1
	CO2
	[2M]

	3
	What are the technique for measurement of high DC voltages?
	L1
	CO3
	[2M]

	4
	Explain the characteristics of lightning.
	L2
	CO4
	[2M]

	5
	Discuss the situations in which DC resistivity surveys are useful.
	L2
	CO5
	[2M]

	6
	What is the necessity for radio interference measurements?
	L1
	CO6
	[2M]

	7
	Name the several gases used as an insulation medium.
	L1
	CO2
	[2M]

	8
	Explain the working principle of an oscilloscope.
	L2
	CO3
	[2M]

	9
	What tests are involved in high voltage testing?
	L1
	CO6
	[2M]

	10
	List out the different tests conducted on cables.

	L1
	CO6
	[2M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	State what are voltage surges and potentially how they may arise?
	L2
	CO1
	[5M]

	
	b)
	Classify the different types of circuit breakers. What are the duties of circuit breakers?
	L3
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	State and explain the criteria for sparking potential and hence obtain the relation between sparking potential and PD values.
	L3
	CO2
	[5M]

	
	b)
	Define intrinsic breakdown. What are the different types of intrinsic breakdown mechanisms?
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Why controlled tripping is necessary in impulse generators? What are the methods available to generate impulse voltage?
	L2
	CO3
	[5M]

	
	b)
	List out the various methods of high-voltage AC and DC generation.
	L1
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	What is insulation coordination? Describe various materials used for insulation of E.H.V. cables.
	L1
	CO4
	[5M]

	
	b)
	Differentiate between different types of overvoltage in power systems.
	L4
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	What is the dielectric constant? What are the factors affecting dielectric loss?
	L1
	CO5
	[5M]

	
	b)
	What do you mean by non-destructive testing? List out various techniques used.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	What are the advantages and disadvantages of oil-filled cables?
	L2
	CO6
	[5M]

	
	b)
	What are the types of testing in transformers? What is the purpose of testing the transformer?
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	What do you mean by “asymmetrical breaking current” and “symmetrical breaking current”?
	L3
	CO1
	[4M]

	
	b)
	Explain the various theories of the breakdown mechanism of commercial liquid dielectrics.
	L2
	CO2
	[3M]

	
	c)
	What is the specialty of high voltage/ current measurement? What are the devices used for high DC voltages?
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	What is meant by insulation co-ordination in Extra high voltage power system?
	L2
	CO4
	[4M]

	
	b)
	How DC resistivity is measured in the earth? What are the applications of DC resistivity measurements?
	L3
	CO5
	[3M]

	
	c)
	What are the various high-voltage tests done on circuit breakers?
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

_1604898669.unknown

