[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A820 





                 
      Date: 05-July-2023 (FN)
B.Tech III-Year II- Semester External Examination, July - 2023 (Supplementary)
ELECTRICAL DISTRIBUTION SYSTEMS (EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Define the loss factor and load Factor.
	L1
	CO1
	[2M]

	2
	Classify different types of primary feeders and give their merits and demerits.
	L3
	CO2
	[2M]

	3
	Explain the necessity of substations?
	L2
	CO3
	[2M]

	4
	Explain voltage drop consideration important in distribution systems.
	L2
	CO4
	[2M]

	5
	Explain what are the advantages of circuit breakers over fuses.
	L6
	CO5
	[2M]

	6
	Write the Demerits for low p.f in the distribution system.
	L1
	CO6
	[2M]

	7
	Define the terms w.r.t Load characteristics:

(i) Load Diversity 

(ii) Contribution factor.
	L1
	CO1
	[2M]

	8
	Explain how do you select an ideal location for sub-station.
	L2
	CO3
	[2M]

	9
	Explain the Coordination of protective devices.
	L6
	CO5
	[2M]

	10
	Describe basic function of booster transformer in sub station. 

	L1
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain the typical features of distribution systems.
	L2
	CO1
	[5M]

	
	b)
	List out different type of loads and explain each and draw the characteristics.
	L1
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Summarize the basic differences between radial and loop types of primary distribution feeders?
	L2
	CO2
	[5M]

	
	b)
	Draw and explain primary and seconded distribution sub-station.
	L1
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Select suitable a single line diagram of 33-kV / 11-kV substation and explain the purpose of each component.
	L4
	CO3
	[5M]

	
	b)
	Explain the difference between Indoor Substation and Outdoor sub stations.
	L6
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Derive the expression for power loss and voltage drop calculations for a non-uniformly distributed load.
	L4
	CO4
	[5M]

	
	b)
	Determine the factors affecting the feeder voltage level.
	L5
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	A three phase 33KV oil CB is rated 1200 A, 2000 MVA, 3s. The making current is?
	L5
	CO5
	[5M]

	
	b)
	List out the different types of protective  devices and circuit breakers and explain in them in detail.
	L1
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain how series capacitors control the voltage in the distribution systems.
	L6
	CO6
	[5M]

	
	b)
	Explain the necessities of Voltage control and p.f. correction in power systems? What are the disadvantages of low voltage and low p.f. of the system?
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Classify the types of loads and explain.
	L3
	CO1
	[4M]

	
	b)
	Deign loop feeder and explain.
	L4
	CO2
	[3M]

	
	c)
	Write the different types of substations and explain?
	L1 
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain the methods used to calculate power losses in distribution systems.
	L2
	CO4
	[4M]

	
	b)
	Determine the principle of operation of Circuit Reclosures.
	L5
	CO5
	[3M]

	
	c)
	Explain the purpose shunt capacitors used in power system.
	L6
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

