[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 8A817





                 
      Date: 31-July-2023 (FN)
B.Tech III-Year II- Semester External Examination, July - 2023 (Regular)
HIGH VOLTAGE ENGINEERING (EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	What is Electric field stress? 
	L1
	CO1
	[2M]

	2
	State Paschen’s law. 
	L5
	CO2
	[2M]

	3
	Write the expression for voltage efficiency of single stage impulse generator. 
	L3
	CO3
	[2M]

	4
	What is Lightning phenomenon? 
	L1
	CO4
	[2M]

	5
	How do you measure the D.C Resistivity? 
	L6
	CO5
	[2M]

	6
	Give the names of methods for testing Surge Arresters and cables. 
	L2
	CO6
	[2M]

	7
	How Gas/ Vacuum acts as insulator? 
	L6
	CO1
	[2M]

	8
	Name the over voltages due to switching surges.
	
	CO4
	[2M]

	9
	What is loss factor? 
	L1
	CO5
	[2M]

	10
	Explain collision process.

	L4
	CO2
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain the applications of insulating materials in the construction of circuit breakers. 
	L1
	CO1
	[5M]

	
	b)
	Discuss in detail about the features and properties of solid dielectrics.
	L4
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Explain short term and long term breakdown mechanics that occur in a composite solid dielectrics. 
	L1
	CO2
	[5M]

	
	b)
	Explain breakdown mechanism in pure liquids. 
	L6
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	What are the problems associated with measuring very high impulse voltages? 
	L5
	CO3
	[5M]

	
	b)
	Explain Van de graff generator using a neat diagram. 
	L5
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Give the mathematical models for lightning discharges and explain them. 
	L1
	CO4
	[5M]

	
	b)
	Explain different aspects of insulation design and insulation co-ordination adopted for EHV. 
	L1
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Briefly explain the methods used for calibrating the partial discharge detectors. 
	L2
	CO5
	[5M]

	
	b)
	Explain the concept of apparent charge in partial discharge measurements. 
	L1
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Mention the different electrical tests done on isolators.
	L1
	CO6
	[5M]

	
	b)
	Describe the impulse current tests performed on lighting arrestors. 
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Explain distribution and control of surge voltage. 
	L5
	CO1
	[4M]

	
	b)
	Discuss about Composite dielectric? List its properties?
	L2
	CO2
	[3M]

	
	c)
	How is the wave front and wave tail times controlled in impulse generator circuits?
	L6
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explore the concept of insulation coordination?
	L5
	CO4
	[4M]

	
	b)
	Give the names of methods used for calibrating the partial discharge detectors. 
	L2
	CO5
	[3M]

	
	c)
	Explain the terms. 
(i) Withstand voltage 
(ii) Flash over voltage 
	L1
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 2

