[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 8A828 





                 
      Date: 31-July-2023 (FN)
B.Tech III-Year II- Semester External Examination, July - 2023 (Regular)
POWER QUALITY (EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Define voltage  quality.
	L1
	CO1
	[2M]

	2
	What are the causes for interruptions?
	L2
	CO2
	[2M]

	3
	Write the principle of over-voltage protection.
	L2
	CO3
	[2M]

	4
	Write various harmonic characterization on power systems.
	L2
	CO4
	[2M]

	5
	Write the causes of long  duration voltage variations.
	L2
	CO5
	[2M]

	6
	Explain the impact of voltage sag on process control equipment.
	L2
	CO6
	[2M]

	7
	Define power quality.
	L1
	CO1
	[2M]

	8
	Define voltage regulation.
	L2
	CO3
	[2M]

	9
	Explain the Power quality monitoring standard.
	L2
	CO6
	[2M]

	10
	Define  interruption.

	L1
	CO2
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	What are the major power quality issues? Explain in detail.
	L3
	CO1
	[5M]

	
	b)
	Write a short note on:          i) Notching          ii) Voltage imbalance
	L3
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	What are the different voltage sag mitigation techniques? Explain in details.
	L3
	CO2
	[5M]

	
	b)
	Explain the following event based disturbances: 

i) Dip    

 ii) Swell   

  iii) Transients.
	L4
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	What are the different sources of transient of over voltages? Discuss the capacitor switching transient.
	L4
	CO3
	[5M]

	
	b)
	What are the important concerns for capacitor bank switching?
	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Explain briefly about various harmonic characteristics on power systems.
	L4
	CO4
	[5M]

	
	b)
	Evaluate  briefly the phenomena of how current distortion affects voltage distortion under the presence of harmonics.
	L5
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	What are the causes of long duration voltage variations.
	L3
	CO5
	[5M]

	
	b)
	Identify the location for power factor correction capacitor in a distribution system.
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the method of mitigation for improving equipment immunity.
	L4
	CO6
	[5M]

	
	b)
	Explain the application of intelligent systems in detail towards power quality.
	L4
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Classify the transients that occur in power systems.
	L3
	CO1
	[4M]

	
	b)
	Explain how the sag magnitudes were calculated for meshed systems.
	L4
	CO2
	[3M]

	
	c)
	What are the basic principles of over voltages protection of load equipment?
	L4
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain hormonic sources of commercial loads in detail.
	L4
	CO4
	[4M]

	
	b)
	Explain What are the device for long-duration voltage regulation.
	L3
	CO5
	[3M]

	
	c)
	What are the characteristics of power measurement equipment?
	L3
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 2 of 2

