[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A729





                 
      Date: 11-July-2023 (AN)
B.Tech IV-Year I- Semester External Examination, July - 2023 (Supplementary)
POWER SYSTEM DEREGULATION - (PE-III)  (EEE)
Time:
 3 Hours







                    Max.Marks:70
 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Why regulation is necessary in monopoly model.
	L1
	CO1
	[2M]

	2
	Discuss the function of OASIS.
	L2
	CO2
	[2M]

	3
	Explain the concept of transmission pricing.
	L2
	CO3
	[2M]

	4
	List the various types of ownership models.
	L1
	CO4
	[2M]

	5
	What do you mean by ancillary services list any four ancillary services? 
	L1
	CO5
	[2M]

	6
	Explain the objectives of deregulation.
	L2
	CO6
	[2M]

	7
	What are the various functions of OASIS.
	L1
	CO2
	[2M]

	8
	Explain the working of independent system operator
	L2
	CO3
	[2M]

	9
	Write the various types classifications in ancillary services
	L1
	CO5
	[2M]

	10
	What are the technical, economic and regulatory issues involved in the deregulation of power industry.

	L1
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain the various types of congestion management methods.
	L6
	CO1
	[5M]

	
	b)
	Explain the effect of congestion on Locational Marginal Prices.  
	L6
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Explain OASIS structure , functions and implementation.
	L2
	CO2
	[5M]

	
	b)
	Explain the terms total transfer capacity, ATC, TRM, and Capacity Benefit Margin. 
	L4
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Discuss the outline of transmission pricing scheme.
	L2
	CO3
	[5M]

	
	b)
	Explain the concept of Short time price forecasting.
	L6
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Compare pool and bilateral trading in open electrical energy markets.
	L5
	CO4
	[5M]

	
	b)
	Explain briefly the difference between markets with perfect and imperfect competition
	L6
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain about balancing issues, network issues and system orientation of ancillary services. 
	L6
	CO5
	[5M]

	
	b)
	Discuss ancillary services in power systems.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Define deregulation and explain in detail different types of markets.
	L1
	CO6
	[5M]

	
	b)
	Explain the concept of unit commitment.
	L6
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Write the difference between integrated power system and restructured power system.
	L1
	CO1
	[4M]

	
	b)
	Explain the structure and functionality of OASIS. 
	L2
	CO2
	[3M]

	
	c)
	Explain why the trading in electricity is risky.
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain briefly the difference between market splitting and counter trading.
	L6
	CO4
	[4M]

	
	b)
	Explain different functions of ancillary services. 
	L2
	CO5
	[3M]

	
	c)
	Explain the need for deregulation.


	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

