[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A715  





                 
      Date: 07-July-2023 (AN)
B.Tech IV-Year I- Semester External Examination, July - 2023 (Supplementary)
RENEWABLE ENERGY SOURCES  (PE-II) - (EEE)
Time:
 3 Hours







                    Max.Marks:70
 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	What is the greatest environmental impact from solar energy systems?
	L1
	CO1
	[2M]

	2
	Define altitude angle, zenith angle and Azimuth angle.
	L2
	CO2
	[2M]

	3
	List out three differences between horizontal and vertical axis wind turbine.
	L2
	CO3
	[2M]

	4
	Comment on the origin of geothermal energy.
	L2
	CO4
	[2M]

	5
	Compare and contrast different types of tides.
	L1
	CO5
	[2M]

	6
	Explain the principle and ionization with respect to MHD.
	L1
	CO6
	[2M]

	7
	List out the applications of solar energy.
	L1
	CO1
	[2M]

	8
	Give a description on types of wind turbines.
	L1
	CO3
	[2M]

	9
	Describe the open cycle OTEC power plant.
	L1
	CO6
	[2M]

	10
	What is Tidal energy?

	L1
	CO5
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain in brief the need for exploiting renewable energy sources. 
	L1
	CO1
	[5M]

	
	b)
	Explain the working of sunshine recorder with a neat sketch.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Classify renewable energy sources. Explain in brief the need of these energy sources with special reference to India.
	L2
	CO2
	[5M]

	
	b)
	What is Solar constant and Explain terrestrial and extra terrestrial solar radiation?
	L2
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Give a brief description on types of wind turbines.
	L3
	CO3
	[5M]

	
	b)
	Derive an expression for maximum power coefficient for a horizontal axis wind turbine.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	What is the current status of geothermal energy in India?
	L1
	CO4
	[5M]

	
	b)
	Describe various energy extraction technologies used with hydrothermal resources.
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Describe the open cycle OTEC power plant and give the status of OTEC plants in India. 
	L2
	CO5
	[5M]

	
	b)
	Show that wave power is directly proportional to the square of amplitude and inversely proportional to the period of wave.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	What is the principle of MHD power generation and discuss about the main parts of an MHD generator.
	L1
	CO6
	[5M]

	
	b)
	Explain the working details of MHD accelerator.
	L1
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Why do use pyranometer and its uses.
	L2
	CO1
	[4M]

	
	b)
	What is meant by solar green house?
	L1
	CO2
	[3M]

	
	c)
	What is a community biogas plant? Explain the problems encountered in it.
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Discuss vapour dominated geothermal plant with a diagram.
	L2
	CO4
	[4M]

	
	b)
	Draw the line diagram and explain the working of hybrid OTEC cycle.
	L2
	CO5
	[3M]

	
	c)
	Explain the concept of joule Thompson effect and its applications.
	L1
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

