[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7B730





                 
      Date: 11-July-2023 (AN)
B.Tech IV-Year I- Semester External Examination, July - 2023 (Supplementary)
POWER PLANT ENGINEERING (ME)
Time:
 3 Hours







                    Max.Marks:70
 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	What are the functions of coal storage in the steam power plant? 
	L2
	CO1
	[2M]

	2
	Compare stoker firing with pulverized fuel firing.
	L2
	CO2
	[2M]

	3
	List the advantages of supercharging.
	L1
	CO3
	[2M]

	4
	Define the term Hydrograph and its importance.
	L1
	CO4
	[2M]

	5
	Write merits and demerits of solar energy.
	L2
	CO5
	[2M]

	6
	What is the importance of Depreciation cost?
	L2
	CO6
	[2M]

	7
	Differentiate between natural and artificial draught.
	L2
	CO1
	[2M]

	8
	Draw the basic layout of open cycle gas turbine power plant.
	L1
	CO3
	[2M]

	9
	What is the working principle of Thermo-Electric conversion system?
	L1
	CO5
	[2M]

	10
	Define the terms

i) Fertile Material

ii) Breeding


	L1
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain briefly about various stages used in fuel handling system with a neat flow chart.
	L2
	CO1
	[5M]

	
	b)
	Describe briefly the elements of a hydraulic ash handling system in a boiler furnace in a power station.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Classify the combustion process and explain the working of spreader stoker firing with a neat diagram. 
	L2
	CO2
	[5M]

	
	b)
	Why cooling towers are used in the steam plant? List advantages and dis-advantages of Mechanical draft cooling towers.
	L4
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Compare between individual pump and common rail injection system.
	L4
	CO3
	[5M]

	
	b)
	Explain the concept of combined power plant with a suitable example and neat diagram.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	How to measure the rainfall with non- recording type rain gauge?
	L2
	CO4
	[5M]

	
	b)
	How do you classify the Hydro-Electric power plants and compare between base load plants and peak load plants?
	L4
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	How do you compare between Horizontal axis wind turbine (HAWT) and Vertical axis wind turbine (VAWT)?
	L4
	CO5
	[5M]

	
	b)
	Explain the importance of direct energy conversion system in the process of generation of power.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain different types of costs used in the electrical energy.
	L1
	CO6
	[5M]

	
	b)
	A thermal power plant consists of two 60 MW and one 30MW unit. The energy produced by the plant is 876x106 KW hr./ year. Determine plant load factor and plant capacity.
	L3
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	List the types of coal and describe the properties of good coal.
	L2
	CO1
	[4M]

	
	b)
	Compare between overfeed and underfeed fuel beds used in the combustion process.
	L4
	CO2
	[3M]

	
	c)
	What are advantages and dis-advantages of Diesel Power Plant over steam power plant?
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Discuss about Hydrographs with a neat diagram.
	L2
	CO4
	[4M]

	
	b)
	Describe briefly about disposal of radioactive waste from the nuclear power plant.
	L2
	CO5
	[3M]

	
	c)
	Sketch and explain general arrangement of power distribution.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

