[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7B735  





                 
      Date: 05-July-2023 (AN)
B.Tech IV-Year I- Semester External Examination, July - 2023 (Supplementary)
RENEWABLE ENERGY AND ENERGY MANAGEMENT (PE-III) - (ME)
Time:
 3 Hours







                    Max.Marks:70
 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Why the sun is treated as the source of energy?
	L2
	CO1
	[2M]

	2
	Mention any two properties of Biomass.
	L2
	CO2
	[2M]

	3
	What are the applications of Biogas?
	L2
	CO3
	[2M]

	4
	Write different types of generators used in wind turbines.
	L1
	CO4
	[2M]

	5
	What is geothermal energy? 
	L1
	CO5
	[2M]

	6
	List the various methods to produce Hydrogen gas.
	L1
	CO6
	[2M]

	7
	How do you differentiate between Photo-thermal and Photo-voltaic process?
	L2
	CO1
	[2M]

	8
	Define the terms : i) Wind farm

ii) Wind cycle        
	L1
	CO4
	[2M]

	9
	 List the demerits of geothermal energy.
	L2
	CO5
	[2M]

	10
	What are the available sources to produce Hydrogen gas?

	L1
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Describe working of hybrid wind energy with solar energy system with a diagram.
	L2
	CO1
	[5M]

	
	b)
	List merits and demerits of Hybrid wind energy systems.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Describe the working of any one of thermo-chemical conversion to convert Biomass in to useful fuel.
	L2
	CO2
	[5M]

	
	b)
	List types of Bio fuels with their applications.
	L2
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Write different Types of Biogas Plants and explain any one with neat diagram.
	L2
	CO3
	[5M]

	
	b)
	Compare Individual and community biogas operated engines.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	The undistributed wind speed at a location is Vi= 4.47 m/s, the speed at turbine rotor is 60% of this value, and the speed at exit is 30% of Vi. The rotor diameter is 9 m. density of air 1.293 kg/m3.

Calculate:
i. power available at inlet of tubine

ii.  power at exit of turbine

iii. power developed by turbine


	L3
	CO4
	[6M]

	
	b)
	Explain the construction and working of variable V & F generator of wind turbine.
	L2
	CO4
	[4M]

	
	
	
	
	
	

	15.
	a)
	How is dry steam power plant  works with the source of geothermal energy and explain with a diagram?
	L2
	CO5
	[5M]

	
	b)
	Explain the Sustainability of availability of geothermal energy for future plan.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the working of Direct electrolysis of water method to produce Hydrogen.
	L2
	CO6
	[5M]

	
	b)
	Describe the construction and working of fuel cell with a neat diagram.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Explain working of Photo-Voltaic solar energy system with a neat diagram.
	L2
	CO1
	[4M]

	
	b)
	Differentiate between Aerobic and Anaerobic conversion to produce useful fuel from Biomass.
	L2
	CO2
	[3M]

	
	c)
	Discuss the importance of biogas technology in present energy scenario.
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	What are the factors considered in the design of wind turbine?
	L3
	CO4
	[4M]

	
	b)
	Write short notes on Status of Geothermal Technology to generate the power.
	L2
	CO5
	[3M]

	
	c)
	Why is it difficult to store hydrogen.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

