[image: image5.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:8AC41  





                 
      Date: 06-Feb-2024 (FN)
B.Tech II-Year I- Semester External Examination, Jan/Feb-2024 (Supplementary)
BASIC ELECTRICAL ENGINEERING(CSE and IT))
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	State ohm’s law and mention the limitations of it.
	L1
	CO1
	[2M]

	2
	Define form factor and peak factor
	L2
	CO2
	[2M]

	3
	Classify different types of losses present in DC Motor
	L2
	CO3
	[2M]

	4
	Analise what happen if SC test conducted at L.V side of the transformer.
	L4
	CO4
	[2M]

	5
	Draw the 3 Ø Star connection, and write relation between line and phase voltage in balanced system
	L2
	CO5
	[2M]

	6
	Define Indicating instruments 
	L2
	CO6
	[2M]

	7
	State Maximum Power Transfer theorem
	L1
	CO1
	[2M]

	8
	Distinguish ideal and practical transformer 
	L2
	CO4
	[2M]

	9
	Analyze the need of control torque in any measuring instruments.
	L3
	CO6
	[2M]

	10
	Write applications of Slipring Induction motor
	L1
	CO5
	[2M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Using Mesh analysis, find the mesh currents in the circuit
[image: image2.jpg]1zv

4Q

4A

3Q

%mn

5Q

P on





	L3
	CO1
	[5M]

	
	b)
	Derive the expressions for Delta -Star transformations
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Find the average and RMS value for the following periodic current waveform with amplitude 6A

[image: image3.jpg]HA)

S

"s)




	L3
	CO2
	[5M]

	
	b)
	Consider a series RC circuit with R = 10Ω and C = 20 micro farads. The applied voltage is given by v(t) = 50 Sin(1000t). Calculate impedance of the circuit, current, voltage across

resistance and capacitor.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain the operation of DC Generator with neat diagram 
	L2
	CO3
	[5M]

	
	b)
	Derive EMF Equation of DC Generator 


	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Draw and explain equivalent circuit of 1 - Ø transformer when reference to primary side.
	L2
	CO4
	[5M]

	
	b)
	A 100 kVA, 2000 V/400 V, 50 Hz, 1- Ø transformer has an iron loss of 600 W and a full-load copper loss of 1600 W. Calculate its efficiency for a load of 60 kW at 0.8 power factor?
	L3
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Differentiate between Squirrel cage and Slip ring Induction motors
	L2
	CO5
	[5M]

	
	b)
	Derive voltage and current equations for a 3-ph balanced star connected load 
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Derive expression for extinction of range of MC type meters
	L2
	CO6
	[5M]

	
	b)
	A meter of resistance 50 ohms has a full scale deflection of 4 mA. 

Determine the value of shunt resistance required in order that full scale deflection should be (a) 15 mA (b) 20 A (c) 100 A
	L3
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	In the circuit given in fig. find the current (I)

[image: image4.png]8Q 20

Jom

30Q




	L3
	CO1
	[4M]

	
	b)
	Define the following 

1. ‘J’ operator    2. Form factor 3. Instantaneous voltage 
	L1
	CO2
	[3M]

	
	c)
	Write the significance of back EMF in DC Motor
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Compare core type and shell type transformer 
	L2
	CO4
	[4M]

	
	b)
	Define following 

1.Slip 2. Slip speed 3. Synchronous Speed
	L1
	CO5
	[3M]

	
	c)
	Discuss the need of extinction of  range of an ammeter and voltmeter  
	L4
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 2

_1604898669.unknown

