[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7AC43





                 
      Date: 06-Feb-2024 (FN)
B.Tech II-Year I- Semester External Examination, Jan/Feb-2024 (Supplementary)
ELECTRICAL TECHNOLOGY (ECE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Give the function of brushes in DC generator.
	L1
	CO1
	[2M]

	2
	How is speed of a DC motor reversed?
	L4
	CO2
	[2M]

	3
	A 2000V/200V, 20 KVA transformer has 66 turns in the secondary. Calculate the number of primary turns.
	L1
	CO3
	[2M]

	4
	What is slip and write its expression. How does the slip vary with load?
	L4
	CO4
	[2M]

	5
	What are the different types of alternators based on rotor construction?                            
	L1
	CO5
	[2M]

	6
	List out the three applications of capacitor start Induction run motor.
	L1
	CO6
	[2M]

	7
	List out the types of dc generators.           




	L1
	CO2
	[2M]

	8
	Draw equivalent circuit of 3-phase induction motor on load.
	L2
	CO4
	[2M]

	9
	How the direction of rotation is reversed for capacitor start capacitor run motor?


	L1
	CO5
	[2M]

	10
	What is the working principle of DC Motor?

	L1
	CO2
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Develop from first principles an expression for  the EMF Equation of a DC generator.
	L1
	CO1
	[5M]

	
	b)
	An 8 pole dc shunt generator has 778 wave connected armature conductors running at 500 r.p.m supplies a load of 12.5Ω  resistance at a terminal voltage of 250V. The armature resistance is 0.24Ω  and the field resistance is 250Ω .Find out the armature current ,the induced emf and the flux per pole.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	What is  Swinburne’s test? Explain the procedure how to calculate efficiency of DC motor.
	L1
	CO2
	[5M]

	
	b)
	A series motor whit an unsaturated magnetic circuit and 0.5Ω total resistance when running at a certain speed takes 60A at 500V. If the load torque varies as the cube of the speed. Calculate the resistance required to reduce the speed by 25%.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Derive an expression for voltage regulation of a single phase transformer from its equivalent circuit or phasor diagram.

	L3
	CO3
	[5M]

	
	b)
	In a 50KVA transformer, the iron loss is 500W and full load copper loss is 800W. Find the efficiency at full load and half full load at 0.8 power factor lagging.
	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	What is revolving magnetic field in three phase induction motor? Explain with neat diagrams.
	L1
	CO4
	[5M]

	
	b)
	Explain the slip-torque characteristics of a 3-ϕ induction motor.
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain the synchronous impedance method for determining the regulation of an alternator.
	L2
	CO5
	[5M]

	
	b)
	A 3 phase 16 pole alternator has a star connected winding with 144 slots and 10 conductors per slot. The flux per pole is 0.03Wb and the speed is 375 RPM. Find the frequency of generated voltage, the magnitude of phase voltage and line voltage. Assume full-pitched coil. 
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Compare the operating characteristics of  capacitor start, and shaded pole motors.
	L5
	CO6
	[5M]

	
	b)
	Explain the operation of AC servo motor.   
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	A short shunt compound generator supplied 7.5Kw at 230V. The shunt field, series field and armature resistances are 100Ω, 0.3Ω & 0.4Ω respectively. Calculate the induced emf and the load resistance.
	L1
	CO1
	[4M]

	
	b)
	What is back emf? Explain the significance of back emf in DC motor.
	L1
	CO2
	[3M]

	
	c)
	Derive an EMF Equation of a Single Phase Transformer.
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain Torque Slip characteristics of 3-ϕ induction motor
	L2
	CO4
	[4M]

	
	b)
	Write working principle of synchronous motor
	L1
	CO5
	[3M]

	
	c)
	Describe the  operation of shaded pole motor.
	L1
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 2

