[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5AC43 





                 
      Date: 31-Jan-2024 (FN)
B.Tech III-Year I- Semester External Examination, Jan/Feb - 2023 (Supplementary)
Electrical Technology (ECE)
Time:
 3 Hours







                    Max.Marks:75
 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)
	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:25


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	Explain the load characteristics of DC Shunt & Series Generators
	L1
	CO1
	[2M]

	2
	Discuss different types of losses that occur in DC Motors.
	L2
	CO2
	[2M]

	3
	Discuss different types of Transformers.
	L1
	CO3
	[2M]

	4
	Draw torque-slip characteristics of a 3-Φ induction motor.
	L1
	CO4
	[2M]

	5
	Define voltage regulation.
	L2
	CO5
	[2M]

	6
	Describe the working principle of 1- Φ induction motor.
	L3
	CO6
	[3M]

	7
	Give the applications of DC series and shunt motors.
	L1
	CO1
	[3M]

	8
	List out different types of Transformers.
	L1
	CO3
	[3M]

	9
	Define synchronous impedance.
	L2
	CO5
	[3M]

	10
	Distinguish between lap winding and wave winding.
	L3
	CO6
	[3M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain the constructional features of DC Generators.
	L1
	CO1
	[5M]

	
	b)
	Derive the EMF equation of the DC Generator.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Derive the back EMF equation of the DC Motor.
	L2
	CO2
	[5M]

	
	b)
	Illustrate the speed control methods of the DC Motor.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Describe OC & SC tests on 1-Φ Transformer.
	L2
	CO3
	[5M]

	
	b)
	Determine the full load efficiency at UPF of a 1- Φ, 4kVA, 200/400 V, 50 Hz transformer from the following results.

OC Test: 200V, 0.7A, 70W on LV side.

SC Test: 15V, 10A, 80W on HV side.
	L1
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Explain the construction details of the cage and wound rotor induction motor.
	L2
	CO4
	[5M]

	
	b)
	Derive the torque equation at standstill and running conditions.
	L3
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain the voltage regulation of an alternator by the synchronous impedance method.
	L3
	CO5
	[5M]

	
	b)
	Summarize the principle of operation synchronous motor.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Discuss the principle of operation of a stepper motor.
	L1
	CO6
	[5M]

	
	b)
	Explain double-revolving field theory.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Explain different types of losses in a DC motor.
	L3
	CO1
	[4M]

	
	b)
	Give the applications of the shunt, series, and compound motors.
	L2
	CO2
	[3M]

	
	c)
	Summarize the introduction of  3-Φ supply.
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain the principle of operation synchronous motor.
	L2
	CO4
	[5M]

	
	b)
	List out the merits of 1- Φ induction motor.


	L3
	CO5
	[5M]

	
	
	
-- 00 -- 00 – 
	
	
	


H.T No





Regulations:


A15











PAGE  
Page 1 of 1

_1604898669.unknown

