[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6A820 





                 
      Date: 12-Feb-2024 (FN)
B.Tech III-Year I- Semester External Examination, Jan/Feb - 2024 (Supplementary)
ELECTRICAL DISTRIBUTION SYSTEMS (EEE)
Time:
 3 Hours







                    Max.Marks:75
             Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:25

[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	Define    i) Demand Factor     ii) Maximum Demand
	L1
	CO1
	[2M]

	2
	Define feeder, distributor and service mains. Also show them with simple pictorial representation.
	L2
	CO2
	[2M]

	3
	Draw the double bud double breaker bus scheme.
	L2
	CO3
	[2M]

	4
	Give relation between voltage drop in single phase ungrounded lateral to three phase lateral.
	L2
	CO4
	[2M]

	5
	List the operating modes of sectionalizer.
	L1
	CO5
	[2M]

	6
	Define Capacitor element and capacitor segment.
	L2
	CO6
	[3M]

	7
	Draw the Agricultural and Commercial Load Characteristics.
	L2
	CO2
	[3M]

	8
	Draw a typical main and transfer bus scheme.
	L1
	CO4
	[3M]

	9
	Define Capacitor unit and capacitor bank.
	L1
	CO6
	[3M]

	10
	Give the relation between the load factor and loss factor
	L2
	CO1
	[3M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain the following:

i. Load factor

ii. Coincidence factor 

iii. Diversity factor Also give the relationship between load factor and diversity factor
	L2
	CO1
	[6M]

	
	b)
	Assume that the river side distribution substation of the NL and NP company supplying Ghost Town, which is a small city, experiences an annual peak load of 3500kW. The total annual energy supplied to the primary feeder circuit is 10,000,000kWh. The peak demand occurs in July or August and is due to air conditioning load: 

i. Find the annual average power demand

ii. Find the annual load factor
	L3
	CO1
	[4M]

	
	
	
	
	
	

	12.
	a)
	Explain the various factors affecting the primary feeder voltage level selection process.
	L2
	CO2
	[5M]

	
	b)
	With help of neat diagram, analyze the operation of loop type primary feeder.
	L4
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Compare the four and six feeder patterns of substation service area if they are voltage drop limited feeders.
	L3
	CO3
	[5M]


	
	b)
	How do you analyze a substation service area with n primary feeders?
	L4
	CO3
	[5M]

	
	
	
	
	
	

	
	
	
	
	
	

	14.
	a)
	Derive the equations for voltage drop in Non-uniformly distribution system.
	L4
	CO4
	[5M]

	
	b)
	A three phase express feeder has an impedance of 6+J20 Ω per phase. At the load end line to line voltages is 13.8kV and the total three phase power is 1200 kW at a lagging power factor of 0.8. by using the line-to-neutral method, determine: 

i. The power factor at the sending end 

ii. The copper loss
	L3
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	What do you mean by coordination? Analyze the coordination between two fuses.
	L4
	CO5
	[4M]

	
	b)
	Analyze  the principle of operation of:

i. Fuse 

ii. Circuit breaker

iii. Circuit Re-closer
	L4
	CO5
	[6M]

	
	
	
	
	
	

	16.
	a)
	Which are the various benefits that can be derived from capacitor installation? Explain any two of them.
	L4
	CO6
	[5M]

	
	b)
	Explain the different types of feeder voltage regulators.
	L5
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	A generation station has a connected load of 43 MW and a maximum demand 20MW, the units generated being 61.5*106 kw per annum. Calculate (i) demand factor and (ii) load factor?
	L3
	CO1
	[4M]

	
	b)
	Compare AC and DC distribution systems?
	L3
	CO2
	[3M]

	
	c)
	Outline  the various factors to be considered to decide the ideal location of substation
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Why voltage drop considerations are important in a distribution system.
	L4
	CO4
	[4M]

	
	b)
	What is the need for coordination of protective devices?
	L2
	CO5
	[3M]

	
	c)
	Describe the function of series capacitor.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 2 of 2

_1604898669.unknown

