[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A510 





                 
      Date: 07-Feb-2024 (FN)
B.Tech III-Year I- Semester External Examination, Jan/Feb - 2024 (Supplementary)
POWER SYSTEMS-II (EEE)
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	Write short notes on causes of low power factor.
	L1
	CO1
	[2M]

	2
	Write a short note on Block-Rate tariff.
	L2
	CO2
	[2M]

	3
	Write short notes arcing grounds.
	L2
	CO3
	[2M]

	4
	State the applications of series reactors.
	L1
	CO4
	[2M]

	5
	The current from neutral to ground connection is 14 A. Calculate the zero phase sequence components in phases.
	L5
	CO5
	[2M]

	6
	Compare Ac and Dc distribution system.
	L5
	CO6
	[2M]

	7
	Write short notes on booster transformer.
	L1
	CO1
	[2M]

	8
	Discuss the effect of ungrounded neutral.
	L2
	CO3
	[2M]

	9
	Compare A.C and D.C distribution system.
	L6
	CO5
	[2M]

	10
	A transformer is rated at 11 kV/0.4 kV,400 kVA,6% reactance. Determine the short circuit MVA of the transformer when connected to infinite bus.


	L5
	CO3
	[2M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Discuss the various methods for power factor improvement.
	L6
	CO1
	[5M]

	
	b)
	A 3-phase ,5kW induction motor has a p.f of 0.75 lagging .a bank of capacitors connected in delta across the supply terminals and p.f raised to 0.9 lagging .determine the kVAR rating of the capacitor connected in each phase
	L6
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Discuss the different classifications of costs of electrical energy.
	L2
	CO2
	[5M]

	
	b)
	A consumer whose maximum demand is 90 kW,p.f 0.8 lagging and load factor 55%.the tariff used is Rs 65 per kVA of maximum demand plus 10 paise per kWh consumed calculate annual bill of consumer.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Briefly discuss about 

i) solid neutral grounding 

ii) resistance neutral grounding 
	L2
	CO3
	[5M]

	
	b)
	Give the effects of ungrounded neutral on system performance. 
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Two generating stations having short circuit capacities of 1100MVA and 700MVA respectively and operating at 11kV are linked by an interconnected cable having reactance of 0.5 ohm per phase. determine the short circuit capacity of each station.
	L5
	CO4
	[5M]

	
	b)
	Explain reactor control of short circuit currents. Discuss advantages.  
	L6
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Derive the expression for fault current for line-to-line fault by symmetrical components method.
	L6
	CO5
	[5M]

	
	b)
	The sequence voltages in R phase are as follows:

ER0=100 V , ER1= (200-j100) V, ER2=-100 V Calculate  the phase voltages ER, EY,EB.
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Briefly Distinguish underground and overhead distribution system.
	L2
	CO6
	[5M]

	
	b)
	Explain briefly about ring main distribution with suitable diagram. Discuss its advantages. 
	L6
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Explain the significance of Phase advancers for improving power factor 
	L2
	CO1
	[4M]

	
	b)
	Write short notes on:

i) Fixed cost

ii) Semi fixed cost 
	L1
	CO2
	[3M]

	
	c)
	Discuss the advantages of gas insulated substation.
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Discuss the significance of short circuit calculations. 
	L2
	CO4
	[4M]

	
	b)
	Write short notes on negative sequence components.
	L1
	CO5
	[3M]

	
	c)
	Discuss the various requirements of distribution system.


	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

_1604898669.unknown

