[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7A714 





                 
      Date: 29-Dec-2023 (FN)
B.Tech IV-Year I- Semester External Examination, Dec/Jan - 2023/24 (Supplementary)
POWER SYSTEM ANALYSIS AND CONTROL (EEE)
Time:
 3 Hours







                    Max.Marks:70
 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	What is an incidence, Matrix? Explain with a suitable example.
	L1
	CO1
	[2M]

	2
	Write short notes on control area.
	L2
	CO2
	[2M]

	3
	Differentiate between single area and 2 area control 
	L4
	CO3
	[2M]

	4
	Draw the flow chart of Newton Raphson Method.
	L3
	CO4
	[2M]

	5
	Write short notes on Steady state stability and transient stability. 
	L2
	CO5
	[2M]

	6
	Draw cost curve and enumerate the significance of it. 
	L2
	CO6
	[2M]

	7
	Define slack bus? And what is the importance of it.
	L3
	CO1
	[2M]

	8
	Draw the block diagram of proportional plus integral control of single area control.
	L6
	CO3
	[2M]

	9
	Give the advantages of optimal allocation of generators.
	L2
	CO6
	[2M]

	10
	What is  steady state, dynamic and transient stability.

	L4
	CO4
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Show that YBUS = AT Ypre A.
	L6
	CO1
	[5M]

	
	b)
	For the three-bus network shown in the following figure, build ZBus
[image: image1.png]™)
bus
Hfere




	L5
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Draw the neat sketch speed governing model and derive necessary equations. 
	L4
	CO2
	[5M]

	
	b)
	Explain the generator model with a neat sketch.
	L5
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Derive necessary equations to determine load frequency control of two area machine for a uncontrolled case.
	L3
	CO3
	[5M]

	
	b)
	Explain load frequency control and Economic dispatch control  in a two area system .  
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Explain the Gauss Seidel method with a flowchart.
	L2
	CO4
	[5M]

	
	b)
	Create an algorithm  for fast decoupled load flow algorithm. List out all the assumptions made in arriving to it.
	L6
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Describe the methods to improve the stability 
	L1
	CO5
	[5M]

	
	b)
	Apply the knowledge of Equal area criterion with an example.
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	List out and explain Inequality constraints for Economic load dispatch. 
	L3
	CO6
	[5M]

	
	b)
	Incremental fuel costs for a power plant consisting of three generating units are IC1=20+0.3P1,IC2=30+0.4P2,IC3=30 

Assume that all the 3 units are operating all the time. Minimum and maximum loads on each unit are 50 and 300 MW respectively. If the plant is operating on economic load dispatch to supply the total demand of 700 MW, the power generated by each unit is
	L5
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Explain ‘Equal Area Criterion’ of stability and clearly determine how you can find the stability limit of a synchronous motor when there is a sudden change in Mechanical power input to the machine.
	L2
	CO1
	[4M]

	
	b)
	Derive the expression for finding out the critical clearing angle calculation
	L3
	CO2
	[3M]

	
	c)
	Explain ZBus formation and ZBus building algorithm?
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Compare Gauss Seidel , Newton Raphson and Decoupled methods for load flow solution.
	L6
	CO4
	[4M]

	
	b)
	Discuss about the methods to improve steady state stability.
	L2
	CO5
	[3M]

	
	c)
	Write short notes on transmission loss coefficients.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 1 of 2

