[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7B730





                 
      Date: 04-Jan-2024 (FN)
B.Tech IV-Year I- Semester External Examination, Dec/Jan-2023/24 (Supplementary)
POWER PLANT ENGINEERING (ME)
Time:
 3 Hours







                    Max.Marks:70
 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Differentiate between conventional and non-conventional sources of energy.
	L2
	CO1
	[2M]

	2
	Compare stoker firing with pulverized fuel firing.
	L2
	CO2
	[2M]

	3
	List the auxiliaries used in the gas turbine power plant.
	L1
	CO3
	[2M]

	4
	Define the term Hydrograph and its importance.
	L1
	CO4
	[2M]

	5
	List the types of Tidal Power Plants used to develop the power.
	L2
	CO5
	[2M]

	6
	What is the importance of Depreciation cost?
	L2
	CO6
	[2M]

	7
	What is internal and external feed  water  treatment?
	L2
	CO1
	[2M]

	8
	Draw the basic layout of open cycle gas turbine power plant.
	L1
	CO3
	[2M]

	9
	What are the instruments used to measure rain fall?
	L1
	CO5
	[2M]

	10
	Define the terms

i) Fertile Material

ii) Breeding


	L1
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Classify the sources of energy and explain the various sources of energy used to develop electricity in India?
	L2
	CO1
	[5M]

	
	b)
	List the types of ash handling system and explain working of Mechanical handling system with a neat diagram?
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Classify the combustion process and explain the working of spreader stoker firing with a neat diagram. 
	L2
	CO2
	[5M]

	
	b)
	Why cooling towers are used in the steam plant? List advantages and dis-advantages of Mechanical draft cooling towers.
	L4
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Describe the working of Diesel Power Plant with auxiliaries along with a neat diagram.
	L4
	CO3
	[5M]

	
	b)
	Classify the gas turbines and compare between open and closed gas turbines with neat their basic layouts.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	How to measure the rainfall with non- recording type rain gauge?
	L2
	CO4
	[5M]

	
	b)
	How do you classify the Hydro-Electric power plants and compare between base load plants and peak load plants?
	L4
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Illustrate the working of closed cycle MHD system with neat sketch.
	L4
	CO5
	[5M]

	
	b)
	How do you compare between Pressurized Water Reactor and Boiling water Reactor?
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain different types of costs used in the electrical energy.
	L1
	CO6
	[5M]

	
	b)
	A thermal power plant consists of two 60 MW and one 30MW unit. The energy produced by the plant is 876x106 KW hr./ year. Determine plant load factor and plant capacity.
	L3
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Differentiate between Mechanical and Hydraulic ash handling system.
	L2
	CO1
	[4M]

	
	b)
	List the merits and demerits of pulverized fuel firing.
	L4
	CO2
	[3M]

	
	c)
	Explain the concept of supercharging in diesel power plant.
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Discuss about Hydrographs with a neat diagram.
	L2
	CO4
	[4M]

	
	b)
	Describe briefly about disposal of radioactive waste from the nuclear power plant.
	L2
	CO5
	[3M]

	
	c)
	Sketch and explain general arrangement of power distribution.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

