[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7B735  





                 
      Date: 29-Dec-2023 (FN)
B.Tech IV-Year I- Semester External Examination, Dec/Jan - 2023/24 (Supplementary)
RENEWABLE ENERGY AND ENERGY MANAGEMENT (PE-III) - (ME)
Time:
 3 Hours







                    Max.Marks:70
 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	What Is the availability of Solar Energy to generate electric power in India?
	L2
	CO1
	[2M]

	2
	Mention any two properties of Biomass.
	L2
	CO2
	[2M]

	3
	Write different types of Bio gas plants.
	L1
	CO3
	[2M]

	4
	Write different types of generators used in wind turbines.
	L1
	CO4
	[2M]

	5
	What are the  different Types of Systems to use Geothermal Energy?
	L1
	CO5
	[2M]

	6
	List the various methods to produce Hydrogen gas.
	L1
	CO6
	[2M]

	7
	What are the advantages of Hybrid wind energy systems?
	L2
	CO1
	[2M]

	8
	Define the terms : i) Wind farm

ii) Wind cycle        
	L1
	CO4
	[2M]

	9
	Why is Hydrogen considered as renewable energy.
	L2
	CO5
	[2M]

	10
	What are the available sources to produce Hydrogen gas?

	L1
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain present and future scope of solar energy to meet the energy demand.
	L2
	CO1
	[5M]

	
	b)
	Describe working of hybrid wind energy with diesel power with a diagram.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Describe the working of any one of thermo-chemical conversion to convert Biomass in to useful fuel.
	L2
	CO2
	[5M]

	
	b)
	List types of Bio fuels with their applications.
	L2
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain the working of anaerobic bioconversion process with diagram.
	L2
	CO3
	[5M]

	
	b)
	Explain the process of Bio- hydrogen production briefly.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	The undistributed wind speed at a location is Vi= 4.47 m/s, the speed at turbine rotor is 60% of this value, and the speed at exit is 30% of Vi. The rotor diameter is 9 m. density of air 1.293 kg/m3.

Calculate:
i. power available at inlet of tubine

ii.  power at exit of turbine

iii. power developed by turbine


	L3
	CO4
	[6M]

	
	b)
	Explain the construction and working of variable V & F generator of wind turbine.
	L2
	CO4
	[4M]

	
	
	
	
	
	

	15.
	a)
	Describe the availability of geothermal energy-size and its distribution.
	L2
	CO5
	[5M]

	
	b)
	How is flash steam power plant works with the source of geothermal energy and explain with a diagram?
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the working of Direct electrolysis of water method to produce Hydrogen.
	L2
	CO6
	[5M]

	
	b)
	Describe the construction and working of fuel cell with a neat diagram.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Compare the terms between Photovoltaic cell and Photosynthesis process.
	L2
	CO1
	[4M]

	
	b)
	List the properties of biomass.
	L2
	CO2
	[3M]

	
	c)
	How is isolated the methane from Biogas?
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	What are the factors considered in the design of wind turbine?
	L3
	CO4
	[4M]

	
	b)
	Write short notes on Status of Geothermal Technology to generate the power.
	L2
	CO5
	[3M]

	
	c)
	Why is it difficult to store hydrogen.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

