[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:8B620





                 
      Date: 07-Aug-2024 (AN)
B.Tech III-Year II- Semester External Examination, August-2024 (Regular and Supplementary)
APPLIED THERMODYNAMICS-II  (MECHANICAL)

Time:
 3 Hours
                                                                                                  Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Name the methods to improve the thermal efficiency of Rankine cycle.
	L2
	CO1
	[2M]

	2
	Distinguish between fire tube and water tube boilers.
	L2
	CO2
	[2M]

	3
	Explain Wilson line.
	L1
	CO3
	[2M]

	4
	Define “Degree of reaction” in a steam turbine.
	L2
	CO4
	[2M]

	5
	What do you understand by vacuum efficiency of a steam condenser? 
	L2
	CO5
	[2M]

	6
	What do you mean by Thrust Augmentation? 
	L2
	CO6
	[2M]

	7
	Define Steam specific consumption?
	L2
	CO1
	[2M]

	8
	Define diagram efficiency of steam turbine.
	L2
	CO4
	[2M]

	9
	Define propulsive efficiency.
	L1
	CO6
	[2M]

	10
	Define nozzle efficiency and velocity coefficient.
	L1
	CO3
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	
	Steam at a pressure of 15bar and 2500C is expanded through a turbine at  first to a pressure of 4bar and it is reheated at constant pressure to initial temperature of 2500C and is finally expanded to 0.1 bar. Estimate the work done, Heat supplied and Thermal efficiency.
	L5
	CO1
	[10M]

	
	
	
	
	
	

	12.
	a)
	What is the height of the chimney required to produce a draught equivalent 17 mm of water if the flue gas temperature is 270oC and ambient temperature is 22oC, andminimum amount of air per kg of fuel is 17kg?
	L3
	CO2
	[5M]

	
	b)
	Explain the working of bobcock and Wilcox boiler with a neat sketch.
	L2
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Steam enters a convergent –divergent nozzle at 15 bar and 3500C with a negligible velocity and it exists at a pressure of 0.1bar. The flow is isentropic. The exit diameter of the nozzle is 10mm. find the mass flow rate and throat area.
	L4
	CO3
	[5M]

	
	b)
	A nozzle is to be designed to expand steam at the rate of 0.10 kg/sec from 500 kPa, 2100C to 100 kPa. Neglect inlet velocity of steam. For a nozzle efficiency of 0.9. Determine the exit area of the nozzle.
	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	
	A Single stage impulse turbine develops 132.4 kW at a blade speed of 175 m/sec using 2 kg of steam per second. Steam leaves the nozzle at 400 m/s. Velocity coefficient of blade is 0.9. Steam leaves the blade axially. Determine the 1) Nozzle angle   2) Blade angle at the entry   3) Blade angle at the exit. Assuming no shock.
	L5
	CO4
	[10M]

	
	
	
	
	
	

	15.
	a)
	Describe with neat sketches the operation of 

 i) Jet condenser   ii) Surface condenser
	L3
	CO5
	[5M]

	
	b)
	A gas turbine plant works between the temperature limits of 300K and 1000K, and pressure 1bar and 16bar. The compression is carried out in 2 stages with perfect intercooling. Calculate the net power of the plant per kg of air circulation. Take Cp=1kJ/kg.K and γ=1.4 for air.
	L5
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the working of turbo jet engine with neat sketch?
	L3
	CO6
	[5M]

	
	b)
	The diameter of the aircraft propeller is 3.8m. The speed ratio is 0.8 at a flight speed of 460 kmph. If the ambient condition of air at the flight altitude are T= 255 K and P= 0.55 bar, determine propulsive efficiency, thrust and thrust power.
	L4
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Write the advantages of superheated steam.
	L2
	CO1
	[4M]

	
	b)
	With the help of a line diagram explain the working of a Benson high pressure boiler.
	L2
	CO2
	[3M]

	
	c)
	Derive an expression for efficiency of a nozzle.
	L3
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Define compounding of steam turbine? Draw the pressure velocity variation for pressure compounded impulse turbine.
	L3
	CO4
	[4M]

	
	b)
	Explain the working of a surface condenser.
	L2
	CO5
	[3M]

	
	c)
	Explain the principle of Jet propulsion.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 2

