[image: image4.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:8AC41



                 
      Date: 19-September-2024 (FN)
B.Tech II-Year I- Semester External Examination, September-2024 (Supplementary)
BASIC ELECTRICAL ENGINEERING (CSE and IT)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	State Kirchhoff’s Law.
	L1
	CO1
	[2M]

	2
	State Thevenin’s theorem
	L1
	CO2
	[2M]

	3
	Classify different types of DC Generators
	L3
	CO3
	[2M]

	4
	Define Voltage regulation 
	L1
	CO4
	[2M]

	5
	Draw the 3 Ø Delta connection, and write relation between line and phase voltage in balanced system
	L2
	CO5
	[2M]

	6
	Define recording instruments 
	L1
	CO6
	[2M]

	7
	State faradays law of electromagnetic induction principle 
	L1
	CO1
	[2M]

	8
	Explain how iron losses can be reduce in Transformer 
	L2
	CO3
	[2M]

	9
	Write applications of MI type instruments 
	L1
	CO5
	[2M]

	10
	Define asynchronous motor?
	L2
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Derive the expressions for Star-Delta transformations
	L2
	CO1
	[5M]

	
	b)
	Find the current through RL in figure using  Thevenin’s theorem
[image: image1.png]40 40

1oV 250
(Ad)





	L3
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Determine total impedance, and current in each branch

[image: image2.png]20

50 jeq

50/50° V.
® 00 80





	L3
	CO2
	[5M]

	
	b)
	Derive average and RMS value of current for a sinusoidal ac voltage waveform. 
	L2
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	With neat diagram, explain the construction of DC machine
	L2
	CO3
	[5M]

	
	b)
	A four-pole generator, having wave-wound armature winding has 300 conductors. What will be the voltage generated in the machine when driven at 1500 rpm assuming the flux per pole to be 8.0 m Wb?

	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	A 20kVA, 50Hz, 2000/200V distribution transformer have data as follows

OC test with HV open circuited: 200V; 4A; 120W

SC test with LV short circuited: 60V; 10A; 300W
Calculate 
a) With full load on the LV side at rated voltage, calculate the excitation voltage and the voltage regulation on the HV side. The load power factor is 0.8 lagging
	L3
	CO4
	[5M]

	
	b)
	Derive EMF equation of a single-phase transformer
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Derive voltage and current equations for a 3-ph balanced delta connected load 
	L2
	CO5
	[5M]

	
	b)
	Explain the operation of 3-p induction motor 
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the working principle of a PMMC instrument.
	L2
	CO6
	[5M]

	
	b)
	A moving coil ammeter has a fixed shunt of 0.02Ω with a coil resistance of R=1000Ω, potential difference of 500mV across it, full scale deflection is obtained such that 

a.To what shunt current does this correspond?

b. calculate value of R with given full scale deflection when shunted current is 10A, 75A.
	L3
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Calculate the voltage across the 10Ω resistor shown in fig

[image: image3.png]50V

5Q

100





	L3
	CO1
	[4M]

	
	b)
	Illustrate 1-ph series RL circuit with neat phasor diagram 
	L2
	CO2
	[3M]

	
	c)
	Derive Torque equation of a DC Motor 
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Outline OC test conduction process in a Transformer manufacturing industry 
	L5
	CO4
	[4M]

	
	b)
	Discuss why induction motor is called asynchronous motor? 
	L2
	CO5
	[3M]

	
	c)
	Derive expression for extinction of range of MC type meters
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 2

