[image: image6.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:8A304




                 
      Date: 13-September-2024 (FN)
B.Tech II-Year I- Semester External Examination, September-2024 (Supplementary)
ELECTRICAL CIRCUITS AND NETWORKS-II(EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	What are the advantages of a poly phase system over a single phase system
	L1
	CO1
	[2M]

	2
	List any two differences between classical and Laplace transform methods of solution of the network
	L1
	CO2
	[2M]

	3
	What is the significance of poles in the transfer function?
	L1
	CO3
	[2M]

	4
	List ABCD parameters interms of H-parameters.
	L1
	CO4
	[2M]

	5
	Draw the frequency response characteristics of low pass filter.
	L1
	CO5
	[2M]

	6
	List advantages of Fourier transform?
	L1
	CO6
	[2M]

	7
	why the current in a pure inductance cannot change in zero time.
	L2
	CO1
	[2M]

	8
	What is a driving point function?
	L1
	CO3
	[2M]

	9
	Write short notes on Line spectra
	L1
	CO5
	[2M]

	10
	What is the relationship between line and phase quantities in a 3-phase Delta connected system.
	L1
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Show that two wattmeters are sufficient to measure power in a 3-phase circuit. Derive the expressions for wattmeter readings for a balanced 3-phase load.
	L2
	CO1
	[5M]

	
	b)
	Three impedances of ( 7 +j4) Ω, ( 3 +j2) Ω and ( 9 +j2) Ω are connected between neutral and the R, Y and B phases. The line voltage is 440 V. Calculate The line currents.
	L4
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	A D.C voltage of 20 V is applied in a R-L circuit where R = 50 Ω and L = 10 H. Find,

(i) The time constant
(ii) The maximum value of stored energy.
	L2
	CO2
	[5M]

	
	b)
	Derive an expression for the current response In RL series circuit with a sinusoidal source.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Find the transform impedance of the following circuit shown in figure.
[image: image1.jpg]




	L3
	CO3
	[5M]

	
	b)
	What is a transfer function? Explain the necessary conditions for transfer functions.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Find the transmission parameters of the network shown in figure.
[image: image2.jpg]Figure




	L2
	CO4
	[5M]

	
	b)
	Find the Y-parameters for the following network (figure).
[image: image3.jpg]lo

MW MW
10 12 Q
re

Figure




	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Derive the characteristic impedance of T-section constant –K low pass filter.
	L2
	CO5
	[5M]

	
	b)
	Classify the filters according to their,
(i) Frequency characteristic and
(ii) Depending upon the relation between series impedance and shunt impedance.
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the types of symmetry in Fourier analysis.
	L2
	CO6
	[5M]

	
	b)
	Find the Fourier transform of the exciting voltage

[image: image4.jpg]v(t) = Vet fort>0.
=0 fort<o.




Sketch approximately amplitude and phase spectra.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Three identical impedances of (3+4j) ohms are connected in delta. Find an equivalent star network such that the line current is the same when connected to the same supply.
	L3
	CO1
	[4M]

	
	b)
	What is the significance of time constant of R-L circuit? And define time constant for R-L circuit?
	L3
	CO2
	[3M]

	
	c)
	Draw the pole-zero plots for a system with following network function.

[image: image5.jpg]s® 122 +3s5+2
Zs )_( )
s* +6s% +8s?





	L3
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Express z-parameters in terms of h-parameters and ABCD parameters.
	L2
	CO4
	[4M]

	
	b)
	Write short notes on m-derived low pass filter.
	L2
	CO5
	[3M]

	
	c)
	State the following properties of Fourier transform:

(i) Linearity property

(ii) Symmetry property

(iii) Scaling property.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 2

