[image: image5.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:9A304




                 
      Date: 03-September-2024 (FN)
B.Tech II-Year I- Semester External Examination, September -2024 (Supplementary)
ELECTRICAL CIRCUITS AND NETWORKS-II (EEE)
Time:
 3 Hours







                    Max.Marks:60

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 


Max.Marks: 6x2=12

[image: image1.wmf] Answer all QUESTIONS, EACH QUESTION CARRIES 2 MARKS.
	
	
	BCLL
	CO(s)
	Marks

	1
	Explain the concept of Balanced Load?
	L2
	CO1
	[2M]

	2
	Calculate the time constant of RC circuit with R=20Ω and C=10µF.
	L3
	CO2
	[2M]

	3
	Find the DC Gain of the function H(s)=25(s+2)/(s2+5s+5)
	L3
	CO3
	[2M]

	4
	What is reciprocal network?
	L1
	CO4
	[2M]

	5
	Explain the function of a band elimination filter?
	L2
	CO5
	[2M]

	6
	What is fourier analysis?
	L1
	CO6
	[2M]








           Part – B


Max.Marks: 6x8=48
ANSWER ALL QUESTIONS. EACH QUESTION CARRIES 8 MARKS.
	
	
	BCLL
	CO(s)
	Marks

	7.
	With the help of connection diagram and phasor diagram, show that two watt meters are sufficient to measure active power in a three phase three wire system with balanced star connected load
	L3
	CO1
	[8M]

	
	OR
	
	
	

	8
	Derive the relation between phase voltage and line voltage of a balanced three phase star connected system with the help of phasor diagram.
	L5
	CO1
	[8M]

	
	
	
	
	

	9.
	Using Laplace transform determine the current in the circuit shown in the following figure when the switch S is closed at t=0. Assume zero initial condition.

[image: image2.emf]
	L5
	CO2
	[8M]

	
	OR
	
	
	

	10
	Derive the expression for transient response of series R-C circuit driven by sinusoidal excitation?
	L5
	CO2
	[8M]

	
	
	
	
	

	11
	Explain different types network functions as applied to single port and two port network. Obtain Y12 of the given network shown in figure

[image: image3.emf]
	L2
	CO3
	[8M]

	
	OR
	
	
	

	12
	Write the necessary conditions for Driving Point Functions and Transfer Function?

	L1
	CO3
	[8M]

	
	
	
	
	

	13
	Find the Y-parameters for the circuit shown in figure 

[image: image4.emf]
	L1
	CO4
	[8M]

	
	OR
	
	
	

	14
	Discuss the condition of Symmetry in Z-Parameter and  Y-Parameter representation?
	L2
	CO4
	[8M]

	
	
	
	
	

	15
	Design a band pass filter with cutoff frequencies of 2000Hz and 5000Hz with a design impedance of 500 ohms.
	L4
	CO5
	[8M]

	
	OR
	
	
	

	16
	Derive the equations to find the inductances and capacitances of a constant K high pass filter.
	L5
	CO5
	[8M]

	
	
	
	
	

	17
	Explain in brief concept of even and odd functions?
	L2
	CO6
	[8M]

	
	OR
	
	
	

	18
	a) List out the Fourier Transform Properties?

b) Find the fourier transform of the time function 3e-t cos4t u(t)  
	L6
	CO6
	[8M]


-- 00 -- 00 –
H.T No





Regulations:


A22











PAGE  
Page 2 of 2

_1604898669.unknown

