[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:8A817 





                 
      Date: 24-Aug-2024 (AN)
B.Tech III-Year I- Semester External Examination, August-2024 (Supplementary)
HIGH VOLTAGE ENGINEERING (EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Define electric field enhancement factor.
	L1
	CO1
	[2M]

	2
	Differentiate the pure and commercial liquids.
	L2
	CO2
	[2M]

	3
	Write the basic principle of Marx circuit.
	L1
	CO3
	[2M]

	4
	What are the natural causes of over voltages?
	L1
	CO4
	[2M]

	5
	Define partial discharge.
	L1
	CO5
	[2M]

	6
	Define creepage distance.
	L1
	CO6
	[2M]

	7
	List any four electrical properties of liquids.
	L1
	CO1
	[2M]

	8
	Describe the limitations of generating voltmeter.
	L1
	CO3
	[2M]

	9
	Define standard impulse wave specifications.
	L1
	CO6
	[2M]

	10
	List any four methods to generate the high ac voltages.
	L1
	CO3
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Discuss about Uniform and Non uniform fields.
	L3
	CO1
	[5M]

	
	b)
	List electrical properties solid insulators.
	L1
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Explain the Paschen’s Law in gases.
	L2
	CO2
	[5M]

	
	b)
	Compare pure and commercial liquids with examples.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Derive an expression for ripple voltage of a multistage Cockcroft-Walton Circuit.
	L3
	CO3
	[5M]

	
	b)
	Explain how a sphere gap can be used to measure the peak value of voltages
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Describe the various theories of charge formation in clouds.
	L1
	CO4
	[5M]

	
	b)
	Explain Overvoltage due to switching surges.
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Define the following,

 (i) Electrical discharge       (ii) Partial Discharge                               

(iii) Discharge magnitude    (iv) Discharge energy 

(v) Discharge inception voltage.
	L2
	CO5
	[5M]

	
	b)
	Explain high voltage Schering bridge method to measure partial discharge.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the different electrical tests done on cables.
	L2
	CO6
	[5M]

	
	b)
	Explain briefly impulse testing of power transformer.
	L2
	CO6
	[5M]


	
	
	
	
	
	

	17.
	a)
	List the electrical properties gas insulators
	L1
	CO1
	[4M]

	
	b)
	Explain the stressed oil volume theory in liquid insulators.
	L2
	CO2
	[3M]

	
	c)
	Draw the neat diagram of Van-de-graaff generator.
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain insulation coordination in detail.
	L2
	CO4
	[4M]

	
	b)
	Explain complex permittivity in capacitor.
	L2
	CO5
	[3M]

	
	c)
	Explain radio interference measurement.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 2 of 2

