[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:8A731 





                 
      Date: 14-June-2024 (FN)
B.Tech IV-Year I-Semester End External Examination, June - 2024 (Supplementary)
SMART GRID(EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Define Smart Grid.
	L1
	CO1
	[2M]

	2
	Illustrate the latest technology in transmission automation.
	L2
	CO2
	[2M]

	3
	Mention various computational optimization techniques.
	L1
	CO3
	[2M]

	4
	Explain Micro Grid.
	L2
	CO4
	[2M]

	5
	What is a Wide Area Measurement System?
	L1
	CO5
	[2M]

	6
	Explain the necessity of reactive power control.
	L2
	CO6
	[2M]

	7
	Discuss the merits of a Smart Grid.
	L2
	CO1
	[2M]

	8
	List computational intelligence techniques in Smart Grid.
	L1
	CO3
	[2M]

	9
	What do you mean by Communication Technology?
	L1
	CO5
	[2M]

	10
	Illustrate Renewable Energy Technologies.
	L2
	CO2
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	List the advantages of building integrated Power systems.
	L1
	CO1
	[5M]

	
	b)
	Discuss the importance and need of a Smart grid in the present scenario.
	L1
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	 Why a smart grid is also called as a “Green Grid”? Explain.
	L2
	CO2
	[5M]

	
	b)
	Describe the fundamental components of smart grid design.
	L1
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain the computational techniques of the smart grid.
	L2
	CO3
	[5M]

	
	b)
	Compare computational and computational intelligence techniques.
	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Discuss the plug-in hybrid electrical vehicles and explain their significance.
	L3
	CO4
	[5M]

	
	b)
	Analyze storage technologies.
	L4
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Define the Phasor Measurement Unit and how it make the grid more reliable.
	L3
	CO5
	[5M]

	
	b)
	Compare communication infrastructure in conventional grid and smart grid.
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain Load Frequency Control in Micro Grid System.
	L3
	CO6
	[5M]

	
	b)
	Interpret the necessity of voltage control in Micro Grid.
	L4
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Compare traditional power grid and smart grid.
	L3
	CO1
	[4M]

	
	b)
	Review the proposed architectures of the smart grid.
	L2
	CO2
	[3M]

	
	c)
	Discuss evolutionary algorithms.
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain environmental impacts due to Distributed Generation.
	L3
	CO4
	[4M]

	
	b)
	What is phasor measurement in smart grid.
	L1
	CO5
	[3M]

	
	c)
	Explain the necessity of Load Frequency Control in Micro Grid System.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 1

