[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:7B620   



                 
                 Date: 07-August-2024 (AN)
B.Tech III-Year II- Semester External Examination, August - 2024 (Supplementary)
METROLOGY AND INSTRUMENTATION (MECHANICAL)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Define the pitch and addendum.
	L1
	CO1
	[2M]

	2
	Differences between RMS value and Rz value. 
	L2
	CO2
	[2M]

	3
	Identify the types of errors in threads.
	L1
	CO3
	[2M]

	4
	Classify the different types of errors.
	L2
	CO4
	[2M]

	5
	Write the working principle of manometer.
	L2
	CO5
	[2M]

	6
	Write the working principle of strain gauge.
	L2
	CO6
	[2M]

	7
	Differences between Line and End standards.
	L2
	CO3
	[2M]

	8
	Define tolerances.
	L1
	CO1
	[2M]

	9
	Describe the applications of Thermocouple.
	L2
	CO5
	[2M]

	10
	Illustrate the principle of load cell.


	L3
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain Indian standard systems.
	L2
	CO1
	[5M]

	
	b)
	Write short notes on dial indicator along with a neat sketch.
	L1
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Describe the working of Go and No Go gage.
	L2
	CO2
	[5M]

	
	b)
	Illustrate the construction and working of Tool maker’s microscope.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Discuss the method of measuring effective diameter using two wire method.
	L2
	CO3
	[5M]

	
	b)
	Describe the pitch measurement of internal screw threads by various methods.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Illustrate the generalized measuring system and explain the various elements of it with an example.
	L3
	CO4
	[5M]

	
	b)
	Discuss the classification of errors in the measuring instruments.
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain the measurement of pressure using Bourdon pressure gauge.
	L2
	CO5
	[5M]

	
	b)
	Identify the laws of thermos electricity and explain about thermocouple.
	L1
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain theory and construction of photo electric transducer to measure the displacement.
	L2
	CO6
	[5M]

	
	b)
	Describe the working principle of accelerometer.
	L2
	CO6
	[5M]


	
	
	
	
	
	

	17.
	a)
	Describe various types of micrometers.
	L2
	CO1
	[4M]

	
	b)
	Explain the bilateral tolerance system.
	L2
	CO2
	[3M]

	
	c)
	Derive an expression for best wire size in screw thread.
	L6
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain the terms of speed of  response and dynamic error of measuring instruments
	L2
	CO4
	[4M]

	
	b)
	What are the advantages and applications of pyrometers.
	L1
	CO5
	[3M]

	
	c)
	Illustrate the working principle of elastic force meters with neat sketch.
	L3
	CO6
	[3M]

	
	
	
	
	
	


-- 00 -- 00 –
H.T No





Regulations:


A18











PAGE  
Page 2 of 2

