[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5B737  





                 
      Date: 14-June-2024 (FN)
B.Tech IV-Year I- Semester External Examination, June - 2024 (Supplementary)
Renewable Energy Systems (ME)
Time:
 3 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:25
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	List the storage methods of solar energy.
	L1
	CO1
	[2M]

	2
	What is the composition of biogas?
	L2
	CO2
	[2M]

	3
	What is the difference between biogas and biomass?
	L2
	CO3
	[2M]

	4
	Derive the expression for power developed due to wind.

	L3
	CO4
	[2M]

	5
	Classify Geothermal sources.
	L1
	CO5
	[2M]

	6
	What is mean by thermal decomposition of water?
	L2
	CO6
	[3M]

	7
	What is mean by bio fuels list the names.
	L2
	CO1
	[3M]

	8
	Distinguish between fixed dome digester and floating drum digester
	L3
	CO4
	[3M]

	9
	What are the bio chemical methods of hydrogen production?
	L2
	CO6
	[3M]

	10
	Compare bio gas with hydrogen in power generation field. 

	L3
	CO3
	[3M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain the Non porous observer plate type Collectors.
	L2
	CO1
	[5M]

	
	b)
	What are the advantages and disadvantages of flat plate collector?
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Describe the advantages of anaerobic digestion. 
	L3
	CO2
	[5M]

	
	b)
	Discuss the factors affecting Biodigestion.   

	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Illustrate the substrates used to produce Biogas explain in detail.
	 L3
	CO3
	[5M]

	
	b)
	Describe the applications of industry & domestic of bio gas plant.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Wind at 1bar pressure, temperature 20ºC has a velocity of 15.5m/sec. the wind turbine has a diameter of 110m and its operating speed is 60rpm at maximum efficiency. Estimate i) the maximum available power density by considering efficiency of the plant 55%  ii) The total power produced.
	 L5
	CO4
	[5M]

	
	b)
	Describe the working of horizontal axis wind turbine.
	L3
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	What are the merits and demerits of wave energy conversion?
	L2
	CO5
	[5M]

	
	b)
	Explain the various methods of tidal power generation with neat sketches.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Describe any two methods of hydrogen production in detail.  
	L3
	CO6
	[5M]

	
	b)
	Explain material compatibility for hydrogen.     


	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Explain the present & future scope of solar energy.
	L2
	CO1
	[4M]

	
	b)
	Mention the merits of bio gas over solar energy.
	L1
	CO2
	[3M]

	
	c)
	Explain Bio-hydrogen production process.
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Compare vertical axis wind turbine with horizontal axis wind turbine.  
	L3
	CO4
	[4M]

	
	b)
	Sketch Hot dry rock power plant and label the parts. 


	L1
	CO5
	[3M]

	
	c)
	Explain the working principle of fuel cell.     




	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 1

