[image: image12.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:9A304




                 
      Date:20 -January-2025 (FN)
B.Tech II-Year I- Semester External Examination, January-2025 (Regular & Supplementary)
ELECTRICAL CIRCUITS AND NETWORKS-II (EEE)
Time:
 3 Hours







                    Max.Marks:60

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 


Max.Marks: 6x2=12

[image: image1.wmf] Answer all QUESTIONS, EACH QUESTION CARRIES 2 MARKS.
	
	
	BCLL
	CO(s)
	Marks

	1
	If a balanced delta load has an impedance of (6+j9)Ω per phase then what is the impedance of each phase in the equivalent star load.                           
	L2
	CO1
	[2M]

	2
	Draw the equivalent circuit for inductor and capacitor at t = 0+ when there is no initial energy.                                                                                                   
	L1
	CO2
	[2M]

	3
	Define transfer function.
	L2
	CO3
	[2M]

	4
	What is condition for symmetry and reciprocity in hybrid parameters?
	L1
	CO4
	[2M]

	5
	What is a filter? List different types of filters.
	L1
	CO5
	[2M]

	6
	List out the conditions of a function to possess even symmetry in terms of Fourier series coefficients.                                                                       
	L1
	CO6
	[2M]








           Part – B


Max.Marks: 6x8=48
ANSWER ALL QUESTIONS. EACH QUESTION CARRIES 8 MARKS.
	
	
	BCLL
	CO(s)
	Marks

	7.
	Determine the line currents in an unbalanced star connected load supplied from a symmetrical 3 phase 440V system. The branch impedances of the load are [image: image3.png]Zg =5£30°0,Z, = 10£45°Q



and [image: image5.png]Zg=10,60°0



.The phase sequence is RYB.
	L3
	CO1
	[8M]

	
	OR
	
	
	

	8
	What will be the relation between readings on the wattmeter connected to measure power in a three-phase balanced circuit with (a) unity power factor, (b) zero power factor, and (c) power factor = 0.5.
	L2
	CO1
	[8M]

	
	
	
	
	

	9.
	Derive the expression for current in a series RL circuit excited by DC voltage. Assume zero initial conditions.
	L2
	CO2
	[8M]

	
	OR
	
	
	

	10
	A 20 µF capacitor in the RC circuit shown has an initial charge of q0 = 500 µC with the polarity as shown. The switch is closed at time t = 0. Find the current transient and the voltage across the capacitor. Find the time at which the capacitor voltage is zero. 

[image: image6.png]E=50V
R=1000 Q

+ C=20yF




	L3
	CO2
	[8M]

	
	
	
	
	

	11
	i) Write the necessary conditions for driving point function.
ii) Write the transform formulas for inductor L and capacitor C in 'J' notation and s domain.
	L2
	CO3
	[8M]

	
	OR
	
	
	

	12
	For the given network, find out V2/V1 

[image: image7.png]



	L3
	CO3
	[8M]

	
	
	
	
	

	13
	Find the transmission Parameters of the given network as shown in fig. 

[image: image8.emf]
	L2
	CO4
	[8M]

	
	OR
	
	
	

	14
	Determine the Z-parameters for the network shown in fig.      

[image: image9.png]



	L4
	CO4
	[8M]

	
	
	
	
	

	15
	Explain the design procedure of constant ‘k’ band pass filter.
	L2
	CO5
	[8M]

	
	OR
	
	
	

	16
	A constant ‘k’ low pass filter is composed of a symmetrical π section. Each series branch is a 0.02H inductor and shunt branch is a 2µF  capacitor. Find 

i) Cut-off frequency.  ii) Nominal impedance  iii) Characteristic impedance at 200Hz and 2000Hz iv) Attenuation at 200Hz and 2000Hz 
	L3
	CO5
	[8M]

	
	
	
	
	

	17
	Find the exponential Fourier series for the waveform shown below. 

[image: image10.png]fi)





	L2
	CO6
	[8M]

	
	OR
	
	
	

	18
	Find the exponential Fourier series of the waveform shown in Figure below. Draw the magnitude spectrum.

[image: image11.png]



	L4
	CO6
	[8M]


-- 00 -- 00 –
H.T No





Regulations:


A22











PAGE  
Page 1 of 2

_1604898669.unknown

