[image: image7.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 8A304 





                 
      Date: 24-Jan-2025 (FN)
B.Tech II-Year I- Semester External Examination, January-2025 (Supplementary)
ELECTRICAL CIRCUITS AND NETWORKS-II(EEE)
Time:
 3 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.





Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:20


[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	Explain how reactive power can be measured in three phase circuits
	L1
	CO1
	[2M]

	2
	List any two differences between classical and Laplace transform methods of solution of the network
	L1
	CO2
	[2M]

	3
	List any two properties of transfer function.
	L1
	CO3
	[2M]

	4
	List ABCD parameters interms of H-parameters.
	L1
	CO4
	[2M]

	5
	What is band-pass filter.
	L1
	CO5
	[2M]

	6
	List advantages of Fourier transform?
	L1
	CO6
	[2M]

	7
	why the voltage across a capacitor cannot change instantaneously.
	L2
	CO2
	[2M]

	8
	What is a driving point function?
	L1
	CO4
	[2M]

	9
	Write short notes on Exponential form of Fourier series
	L1
	CO6
	[2M]

	10
	What is the relationship between line and phase quantities in a 3-phase Delta connected system.
	L1
	CO1
	[2M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	A balanced delta connected load of ( 2 +j3) Ω per phase is connected to a balanced three phase 440 V supply. The phase current is 10 A. Find the,

(i) Total active power and (ii) Reactive power 
	L2
	CO1
	[5M]

	
	b)
	Explain how power is measured in three phase delta connected balanced load using two wattmeters.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	A D.C voltage of 20 V is applied in a R-L circuit where R = 50 Ω and L = 10 H. Find,

(i) The time constant

(ii) The maximum value of stored energy.
	L2
	CO2
	[5M]

	
	b)
	Derive an expression for the current response In RL series circuit with a sinusoidal source.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Find the transform impedance of the following circuit shown in figure.

[image: image2.jpg]16 il
%IQ %49

N

Figure




	L2
	CO3
	[5M]

	
	b)
	What is a driving point function? Explain the necessary conditions for driving point functions.
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Find the transmission parameters of the network shown in figure.

[image: image3.jpg]Figure




	L2
	CO4
	[5M]

	
	b)
	Find the Y-parameters for the following network (figure).

[image: image4.jpg]lo

MW MW
10 12 Q
re

Figure




	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Design a low pass filter (T section) having a cutoff frequency of 2 kHz to operate with a terminated load resistance of 500 Ω
	L4
	CO5
	[5M]

	
	b)
	Derive the characteristic impedance of T-section constant –K high pass filter.
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the types of symmetry in Fourier analysis.
	L2
	CO6
	[5M]

	
	b)
	Find the Fourier transform of the exciting voltage

[image: image5.jpg]v(t) = Vet fort>0.
=0 fort<o.




Sketch approximately amplitude and phase spectra.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	What are advantages of a polyphase system over a single phase system?
	L2
	CO1
	[4M]

	
	b)
	What are the initial conditions? Why do you need them?
	L2
	CO2
	[3M]

	
	c)
	A transfer function is given by [image: image6.jpg]4
Z(s) = 3s(s+4)

(s+2)(& +s+1)




 

find its pole-zero plot.
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Express z-parameters in terms of h-parameters and ABCD parameters.
	L2
	CO4
	[4M]

	
	b)
	Write short notes on m-derived low pass filter.
	L2
	CO5
	[3M]

	
	c)
	State the following properties of Fourier transform:

(i) Linearity property

(ii) Symmetry property

(iii) Scaling property.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 2

_1604898669.unknown

