[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 8AC48





                 
      Date: 31-Jan-2025 (FN)
B.Tech II-Year I- Semester External Examination, January-2025  (Supplementary)
ELEMENTS OF ELECTRICAL AND ELECTRONICS ENGINEERING (CS, AIML, DS and IOT)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Explain the losses in in a DC machine
	L2
	CO1
	[2M]

	2
	What is j operator?
	L1
	CO2
	[2M]

	3
	List any two differences between cage rotor and slip ring rotor?
	L1
	CO3
	[2M]

	4
	Derive ripple factor of full wave rectifier.
	L3
	CO4
	[2M]

	5
	Write any two advantages of MOSFET
	L1
	CO5
	[2M]

	6
	Draw the truth table of NOR gate.
	L3
	CO6
	[2M]

	7
	State Kirchhoff ‘s voltage law
	L1
	CO1
	[2M]

	8
	Define slip of induction motor.
	L2
	CO3
	[2M]

	9
	Write any two Applications of BJT
	L1
	CO5
	[2M]

	10
	Draw the power triangle.
	L3
	CO4
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain Nodal analysis with suitable example
	L2
	CO1
	[5M]

	
	b)
	With the neat diagram explain the construction of DC machine
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Find RMS value, Average value, form factor and peak factor of a sine wave
	L5
	CO2
	[5M]

	
	b)
	A 3phase voltage source has a phase of 120V and supplies star connected load having impedance of 24+j36 Ω per phase. Calculate i) Line voltage ii) Line current iii) Total 3-phase power supplied by the load.
	L2
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain the working principle of 3-phase induction motor.
	L2
	CO3
	[5M]

	
	b)
	Discuss the working principle of operation of

electrodynamometer type of instruments with its constructional

diagram. 
	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Explain the principle of operation of full bridge rectifier with suitable wave forms.
	L2
	CO4
	[5M]

	
	b)
	Explain the steps to analyze a clamping network with an example.
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain the construction and draw the input and output characteristics of power BJT.
	L2
	CO5
	[5M]

	
	b)
	Compare BJT and MOSFET
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the operation of OR and NOR gates with an example.
	L2
	CO6
	[5M]

	
	b)
	Differentiate between 1’s and 2’s complement with an example.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	A 6-pole, DC Motor has 800 conductors on its armature. The flux per pole is 0.035 Wb. The speed of rotation of the armature is 1500 RPM. Calculate the EMF when the armature is, 

(i) Lap wound, 

(ii) Wave wound.
	L5
	CO1
	[4M]

	
	b)
	Define the following:

i) Cycle

 ii) Time period 

iii) Frequency.
	L1
	CO2
	[3M]

	
	c)
	Obtain the mathematical expression for deflecting torque and controlling torque for the DC ammeter
	L3
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Draw V-I characteristics of P-N junction diode.
	L1
	CO4
	[4M]

	
	b)
	Draw the common Base characteristics of a transistor
	L1
	CO5
	[3M]

	
	c)
	Explain EX-OR gate with truth table.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 2

