[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 8A817





                 
      Date: 05-Feb-2025 (AN)

B.Tech III-Year I- Semester External Examination, Jan/Feb- 2025 (Supplementary)
HIGH VOLTAGE ENGINEERING(EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	What is Surge voltage? 
	L1
	CO1
	[2M]

	2
	Differentiate the pure and commercial liquids.
	L1
	CO2
	[2M]

	3
	What are the different methods used for peak impulse voltage measurements. 
	L1
	CO3
	[2M]

	4
	What are the natural causes of over voltages?
	L5
	CO4
	[2M]

	5
	What is Dielectric Constant? 
	L5
	CO5
	[2M]

	6
	Define creepage distance.
	L2
	CO6
	[2M]

	7
	State the methods for electric field computation? 
	L2
	CO1
	[2M]

	8
	Describe the limitations of generating voltmeter.
	L1
	CO4
	[2M]

	9
	What is loss factor? 
	L1
	CO5
	[2M]

	10
	List any four methods to generate the high ac voltages.
	L1
	CO2
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain Numerical methods for electric field computation. 
	L1
	CO1
	[5M]

	
	b)
	Indicate the solid insulation applications in: 

(a) circuit breakers (b) cables 
	L1
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Explain the Paschen’s Law in gases.
	L2
	CO2
	[5M]

	
	b)
	Compare pure and commercial liquids with examples.
	L6
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain the Cockroft walton type DC Voltage multiplier circuit. 
	L1
	CO3
	[5M]

	
	b)
	Explain Vandegraff Generator with a neat sketch. 
	L5
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Describe the various theories of charge formation in clouds.
	L2
	CO4
	[5M]

	
	b)
	Explain Overvoltage due to switching surges.
	L5
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	What are partial discharges and how are they detected under power frequency operating conditions? 
	L2
	CO5
	[5M]

	
	b)
	Describe a simple experiment technique to measure partial discharge 
	L1
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Explain the different electrical tests done on cables.
	L2
	CO6
	[5M]

	
	b)
	Explain briefly impulse testing of power transformer.
	L2
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Name the applications of insulating materials in transformers. 
	L1
	CO1
	[4M]

	
	b)
	Explain any  two break down mechanism in liquid dielectric.
	L1
	CO2
	[3M]

	
	c)
	List out various techniques for high voltage DC measurement
	L1
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain insulation coordination in detail.
	L6
	CO4
	[4M]

	
	b)
	Explain complex permittivity in capacitor.
	L5
	CO5
	[3M]

	
	c)
	Explain radio interference measurement.
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 1

