[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 8A828





                 
      Date: 05-Feb-2025 (AN)

B.Tech III-Year I- Semester External Examination, Jan/Feb- 2025 (Supplementary)
POWER QUALITY(EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Distinguish power quality and voltage quality
	L3
	CO1
	[2M]

	2
	List the common sources of voltage sags
	L2
	CO2
	[2M]

	3
	Define ferro resonance 
	L1
	CO3
	[2M]

	4
	What are harmonic indices in the context of power quality analysis
	L1
	CO4
	[2M]

	5
	Write the causes of short duration voltage variations.
	L2
	CO5
	[2M]

	6
	Define Minimum output voltage range in tap changing transformer
	L2
	CO6
	[2M]

	7
	What is voltage sag?
	L2
	CO2
	[2M]

	8
	A voltage waveform is measured to have a total harmonic distortion (THD) of 8%. Calculate the RMS value of the fundamental voltage component if the peak value of the fundamental voltage is 340 V
	L2
	CO4
	[2M]

	9
	Write about application of intelligent systems for power quality.
	L2
	CO6
	[2M]

	10
	List various wiring problems.
	L2
	CO1
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	What are major power quality issues and explain them?
	L3
	CO1
	[5M]

	
	b)
	Explain different modes of wave form distortion.
	L3
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Derive the expression for voltage sag magnitude and phase angle jump.  
	L3
	CO2
	[5M]

	
	b)
	Discuss the  voltage sag calculations in non-radial systems.
	L4
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain about capacitor switching transients.
	L3
	CO3
	[5M]

	
	b)
	Explain about different devices for over voltage protection.
	L4
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Explain the effects of harmonic distortion on electrical equipment and power distribution systems
	L3
	CO4
	[5M]

	
	b)
	Define inter-harmonics and describe their role in power quality analysis
	L4
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain about long duration and short duration voltage variations
	L3
	CO5
	[5M]

	
	b)
	Explain Static VAR compensation for power factor improvement.
	L3
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Write the power quality monitoring standards
	L3
	CO6
	[5M]

	
	b)
	Compare modern shunt compensator and series compensator in detail.
	L3
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Briefly write steps in power quality evaluation procedure.
	L4
	CO1
	[4M]

	
	b)
	Differentiate voltage sag and voltage swells.
	L4
	CO2
	[3M]

	
	c)
	Explain about different devices for over voltage protection
	L3
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Apply your understanding of harmonics and transients to a case study involving a power quality issue in an industrial setting.
	L4
	CO4
	[4M]

	
	b)
	Analyze the role of distributed energy resources (DERs) in regulating utility voltage
	L4
	CO5
	[3M]

	
	c)
	Write the applications of Intelligent systems in power quality monitoring
	L3
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 2 of 2

