[image: image2.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6A820 





                 
      Date: 30-Jan-2025 (AN)
B.Tech III-Year I- Semester External Examination, January - 2025 (Supplementary)
ELECTRICAL DISTRIBUTION SYSTEMS (EEE)
Time:
 3 Hours







                    Max.Marks:75
             Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6









Part - A 



Max.Marks:25

[image: image1.wmf]Answer all QUESTIONS.
	
	
	BCLL
	CO(s)
	Marks

	1
	Draw the Residential and industrial load characteristics. 
	L1
	CO1
	[2M]

	2
	Define feeder, distributor and service mains. Also show them with simple pictorial representation.
	L2
	CO2
	[2M]

	3
	Classify the substation cost.
	L2
	CO3
	[2M]

	4
	Give relation between voltage drop in single phase ungrounded lateral to three phase lateral.
	L2
	CO4
	[2M]

	5
	List the parameters to select the fuse cutouts.
	L1
	CO5
	[2M]

	6
	Define Capacitor element and capacitor segment.
	L2
	CO6
	[3M]

	7
	List out various factors affecting the selection of primary feeder rating
	L2
	CO2
	[3M]

	8
	Draw a typical main and transfer bus scheme.
	L1
	CO4
	[3M]

	9
	Draw the Voltage phasor diagram with leading power factor 

i)without series capacitors 

ii) with series capacitors
	L1
	CO6
	[3M]

	10
	Give the relation between the load factor and loss factor
	L2
	CO1
	[3M]








           Part – B


   
 Max.Marks:50

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain the following:

i. Load factor

ii. Coincidence factor 

iii. Diversity factor Also give the relationship between load factor and diversity factor
	L2
	CO1
	[6M]

	
	b)
	Assume that the river side distribution substation of the NL and NP company supplying Ghost Town, which is a small city, experiences an annual peak load of 3500kW. The total annual energy supplied to the primary feeder circuit is 10,000,000kWh. The peak demand occurs in July or August and is due to air conditioning load: 

i. Find the annual average power demand

ii. Find the annual load factor
	L3
	CO1
	[4M]

	
	
	
	
	
	

	12.
	a)
	What are the basic design considerations in Distribution feeders? Explain about Radial feeder.
	L2
	CO2
	[5M]

	
	b)
	With the help of a diagram, Analyze the basic design practice of the secondary distribution system.
	L4
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Compare the four and six feeder patterns of substation service area if they are voltage drop limited feeders.
	L3
	CO3
	[5M]

	
	b)
	How do you analyze a substation service area with n primary feeders?
	L4
	CO3
	[5M]

	
	
	
	
	
	

	
	
	
	
	
	

	14.
	a)
	Derive the necessary equations for power loss in uniformly distributed lines.
	L4
	CO4
	[5M]

	
	b)
	Compare three phase balanced and non-balanced systems.
	L3
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	What do you mean by coordination? Analyze the coordination between two fuses.
	L4
	CO5
	[4M]

	
	b)
	Analyze  the principle of operation of:

i. Fuse 

ii. Circuit breaker

iii. Circuit Re-closer
	L4
	CO5
	[6M]

	
	
	
	
	
	

	16.
	a)
	Analyze the procedure to determine the best location of capacitor
	L4
	CO6
	[5M]

	
	b)
	A factory operates at 0.8 p.f. lagging and has a monthly demand of 750kVA. The monthly power rate is Rs.8.50 per kVA. To improve the power factor, 250kVA capacitors are installed in which there is negligible power loss. The installed cost of equipment is Rs.20,000 and fixed charges are estimated at 10% per year. Calculate the annual saving effected by the use of capacitors
	L5
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	A generation station has a connected load of 43 MW and a maximum demand 20MW, the units generated being 61.5*106 kw per annum. Calculate (i) demand factor and (ii) load factor?
	L3
	CO1
	[4M]

	
	b)
	Compare AC and DC distribution systems?
	L3
	CO2
	[3M]

	
	c)
	Outline  the various factors to be considered to decide the ideal location of substation
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	What is meant by voltage drop and voltage regulation? Derive the relationship between them
	L4
	CO4
	[4M]

	
	b)
	What is meant by fault? Classify types fault occurred in distribution system
	L2
	CO5
	[3M]

	
	c)
	Describe the function of shunt capacitor 
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 1 of 2

_1604898669.unknown

