[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:8AC48




                 
      Date: 04- January-2025 (AN)
B.Tech III-Year II- Semester External Examination, January-2025 (Supplementary)
ELEMENTS OF ELECTRICAL AND ELECTRONICS ENGINEERING (CIVIL)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Define Ohms Law?
	L2
	CO1
	[2M]

	2
	Define Form Factor and Peak Factor?
	L2
	CO2
	[2M]

	3
	Define Deflecting Torque?
	L2
	CO3
	[2M]

	4
	List the Applications of Diodes.
	L1
	CO4
	[2M]

	5
	What is BJT and what are the different modes of operation of BJT?
	L3
	CO5
	[2M]

	6
	Draw Symbols and truth tables of OR and NOR Gates with truth tables?
	L3
	CO6
	[2M]

	7
	What are different types of DC Generators?
	L1
	CO1
	[2M]

	8
	What are the different types of filters?
	L3
	CO4
	[2M]

	9
	Convert 10011011(2) binary numbers in to decimal number?
	L5
	CO6
	[2M]

	10
	Define Faradays laws?
	L2
	CO5
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain Kirchhoff’s Laws with an example?
	L2
	CO1
	[5M]

	
	b)
	Drive EMF equation of Generator?
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Derive average and RMS values of a sinusoidal alternating quantity?
	L2
	CO2
	[5M]

	
	b)
	A 15 ohms resistance and 30 mH Inductance are connected in series and the circuit is fed from a 230V 50 Hz AC supply. Find i) Impedance ii) Voltage across Resistor iii) Voltage across inductor iv) Power factor
	L5
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	With a neat sketch explain constructional features of 3 phase Induction motor?
	L2
	CO3
	[5M]

	
	b)
	Explain the essential torques in measuring instruments?
	L2
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Explain the operation of PN junction diode and its characteristics?
	L2
	CO4
	[5M]

	
	b)
	Explain Half wave and Full wave rectifies circuits with a neat sketches?
	L3
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain the construction and operation of BJT with a neat sketch in CE configuration?
	L3
	CO5
	[5M]

	
	b)
	Explain briefly about JFET and its Characteristics?
	
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Draw the symbols and write the truth tables of AND, OR, NAND, XOR gates?
	L3
	CO6
	[5M]

	
	b)
	Obtain dual of Boolean expression A+B+A’B’C
	L3
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Explain about types of sources?
	L2
	CO1
	[4M]

	
	b)
	When Z1= 6+j5 and Z2=7+j9 calculate Z1+Z2 and Z1*Z2
	
	CO2
	[3M]

	
	c)
	What is the Classification of Measuring instruments and explain briefly?
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain briefly about clippers and clampers?
	L3
	CO4
	[4M]

	
	b)
	What are the uses and applications of MOSFET?
	
	CO5
	[3M]

	
	c)
	Convert 8763(8)  and FA27D(16) to binary numbering systems
	L5
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 2 of 2

