[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 8A611 




                 
      Date:30-December-2024 (AN)
B.Tech III-Year II- Semester External Examination, December-2024 (Supplementary)
SWITCH GEAR AND PROTECTION(EEE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:20
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Explain the transients in power system?

	L2
	CO1
	[2M]

	2
	What is meant by insulation coordination?
	L4
	CO2
	[2M]

	3
	Explain the specifications considered for a circuit breaker.
	L2
	CO3
	[2M]

	4
	What is meant by relay setting?
	L2
	CO4
	[2M]

	5
	Define phase comparator?
	L2
	CO5
	[2M]

	6
	Write the list of faults that may occur on the rotor side of an alternator?
	L2
	CO6
	[2M]

	7
	What is voltage surge? Explain.
	L2
	CO2
	[2M]

	8
	What is Current zero interruption? List its advantages.
	L2
	CO3
	[2M]

	9
	What is a current transformer? Explain its use.
	L2
	CO5
	[2M]

	10
	Define Differential Protection.
	L2
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Explain briefly about Bewley’s lattice diagram.
	L2
	CO1
	[5M]

	
	b)
	Derive the co-efficient’s of reflection and refraction voltages and current of transmission line ending with a cable.
	L2
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	Explain the construction and working of valve type arrestor.
	L2
	CO2
	[5M]

	
	b)
	Sketch Volt-Time characteristics and explain.
	L2
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Describe with a neat sketch the principle of operation of a oil circuit breaker.
	L2
	CO3
	[5M]

	
	b)
	A circuit breaker is rated at 1500A, 2000MVA, 33kV, 3 sec, 3 phase oil circuit breaker. Find the normal rated current, breaking current, making current and shot time current rating ?
	L4
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Discuss the construction and operation of attracted armature relay.
	L2
	CO4
	[5M]

	
	b)
	Explain the Operation principle and characteristics of MHO and off set MHO relay
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Compare Static relays with Electromagnetic Relays.
	L2
	CO5
	[5M]

	
	b)
	Describe the realization of Static MHO relay and static reactance relays.
	L2
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Discuss the protection of generators against stator faults.
	L2
	CO6
	[5M]

	
	b)
	A 3 – phase, 2 pole, 33 KV, 8300 KVA alternator has neutral earthed through a resistance of 3.66 ohms. The machine has current balance protection which operates up on out of balance current exceed 20 % of full load. Determine % of winding protected against earth fault.

	L4
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	Explain the behavior of travelling waves at open circuited line.



	L2
	CO1
	[4M]

	
	b)
	What are causes of overvoltage arising on a power system?
	L2
	CO2
	[3M]

	
	c)
	Explain current chopping phenomenon?
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	Explain the working of induction type over current relay.
	L2
	CO4
	[4M]

	
	b)
	Explain the operation of static impedance relay.
	L2
	CO5
	[3M]

	
	c)
	Discuss the protection of a parallel feeder.
	L4
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A20











PAGE  
Page 1 of 2

