[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 5AC44 




                 
      Date: 31-Dec-2024 (AN)
B.Tech III-Year II- Semester External Examination, December-2024 (Supplementary)
Fundamentals of Measurements and Instrumentation (ME)
Time:
 3 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6








Part - A 




Max.Marks:25
Answer all QUESTIONS

	
	
	BCLL
	CO(s)
	Marks

	1
	Define the terms sensitivity, precision and accuracy.
	L1
	CO1
	[3M]

	2
	What is the effect of open circuit on Current Transformer?
	L2
	CO2
	[3M]

	3
	What are the constructional differences between LPF and UPF watt meters.
	L2
	CO3
	[3M]

	4
	What is the necessity of standardization in Crompton’s Potentiometer
	L2
	CO4
	[3M]

	5
	What is Q-meter? Where it is used?
	L2
	CO5
	[3M]

	6
	What are the advantages of Electrical transducers?
	L2
	CO6
	[2M]

	7
	Classify various errors in measuring instruments.
	L1
	CO1
	[2M]

	8
	How to measure the unknown resistance using analytical method? 
	L2
	CO3
	[2M]

	9
	What is meant by Total Harmonic Distortion?
	L2
	CO5
	[2M]

	10
	What are the applications of Thermocouples?
	L2
	CO6
	[2M]








Part – B 




Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	
	 
	
	BCLL
	CO(s)
	Marks

	11.
	a)
	Define the terms deflecting torque, Controlling torque and Damping torque.
	L2
	CO1
	[5M]

	
	b)
	Derive the expressions for deflecting torque and controlling torques in PMMC instruments.
	L4
	CO1
	[5M]

	
	
	
	
	
	

	12.
	a)
	How to test current transformers using Silsbee’s method? Explain with neat diagrams.
	L2
	CO2
	[5M]

	
	b)
	Discuss about various errors that are associated with both Current Transformer's and Potential transformer's.
	L3
	CO2
	[5M]

	
	
	
	
	
	

	13.
	a)
	Explain the testing of Energy meters using phantom loading.
	L2
	CO3
	[5M]

	
	b)
	How do you measure the balanced three phase reactive power with single wattmeter? Derive necessary equations.
	L3
	CO3
	[5M]

	
	
	
	
	
	

	14.
	a)
	Explain construction & working of Schering  bridge and derive the expressions if any
	L2
	CO4
	[5M]

	
	b)
	What are the limitations of Wheatstone bridge and Kelvin’s double bridge?
	L2
	CO4
	[5M]

	
	
	
	
	
	

	15.
	a)
	Explain the working principle of DVM using successive approximation method.
	L2
	CO5
	[5M]

	
	b)
	Differentiate between wave analyzers and spectrum analyzers.
	L4
	CO5
	[5M]

	
	
	
	
	
	

	16.
	a)
	Classify various transducers in detail.
	L1
	CO6
	[5M]

	
	b)
	Write short notes on Thermo couples and Photo conductive cells.
	L1
	CO6
	[5M]

	
	
	
	
	
	

	17.
	a)
	How to extend the range of Voltmeters using resistors?
	L2
	CO1
	[4M]

	
	b)
	Classify various power factor meters.
	L1
	CO2
	[3M]

	
	c)
	How to extend the range of watt meters using instrument transformers?
	L2
	CO3
	[3M]

	
	
	
	
	
	

	18.
	a)
	What is universal bridge? Draw its schematic.
	L2
	CO4
	[4M]

	
	b)
	What are the applications of CRO?
	L2
	CO5
	[3M]

	
	c)
	What are the applications of Strain gauge?
	L2
	CO6
	[3M]


-- 00 -- 00 –
H.T No





Regulations:


A15











PAGE  
Page 1 of 2

