[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6B729  





                 
      Date: 20-July-2021(AN)
B.Tech IV-Year I- Semester Covid-19 Special External Examination, July - 2021 (Regular)
METROLOGY AND INSTRUMENTATION (ME)

Time:
 3 Hours







                    Max.Marks:75


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Explain the terms: Hole based system, shaft based system. Enumerate the differences between them.
	L4
	CO1
	[8M]

	
	b)
	Briefly explain the features of Indian Standard limit system and compare it with the I.S.O system.
	L2
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	List various angle measurement instruments. Describe the working principle of Bevel Protractor.
	L1
	CO2
	[8M]

	
	b)
	Draw the sketch of Tool makers microscope with salient constructional features.
	L3
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Describe with a neat sketch the measurement of pitch of internal and external screw threads using a pitch measuring machine.
	L4
	CO3
	[8M]

	
	b)
	Explain the constant cord method of measuring the tooth thickness in gears.
	L2
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Describe the functional elements of generalized measurement system with neat sketch.
	L3
	CO4
	[8M]

	
	b)
	What are sources of errors in instrumentation?
	L2
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain the dynamic characteristics of the measurement system.
	L2
	CO5
	[8M]

	
	b)
	What are the different types of errors occurred in measurement system? Explain them in detail.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Explain the working principle of resistance displacement transducers describe the advantages and disadvantages. 
	L3
	CO6
	[8M]

	
	b)
	Explain the working principle of seismic instrument with neat figure describe the advantages and disadvantages.
	L3
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Sketch and explain variable capacitive transducer elements with applications.
	L1
	CO1
	[8M]

	
	b)
	Explain the working principle involved in seismic instrument.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	8.
	a)
	What are dynamic performance characteristics of instruments describe the any two.
	L2
	CO4
	[5M]

	
	b)
	Explain the working of bellow pressure gauge with neat sketch.
	L2
	CO5
	[5M]

	
	c)
	Distinguish between bonded and unbounded type of resistance strain gauge?
	L3
	CO6
	[5M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 1 of 1

