[image: image1.wmf]I


Sreenidhi Institute of Science & Technology

(An Autonomous Institution)
Code No:  102EP04
M. TECH. I – Year I – Semester Examinations, March, 2011 (Regular)
COMPUTER METHODS IN POWER SYSTEMS
Time:
3 Hours







     Max. Marks : 60

 
Note : No additional answer sheets will be provided.

* * * * * 

Part-A (Objective Type)

Max.Marks:10

Answer all the QUESTIONS.

1. Write the Performance equation of a Primitive network both in impedance and admittance form.

2. Represent a 3 – ph Primitive network in admittance form and write its performance equation.

3. The impedance per phase of a 3 – ph transmission line on a base of 100 MVA, 100 kV   is 2 p.u. what is the value of this impedance on a base of 400 MVA and 400 kV ?
4. The performance equation of a two bus power system is 
[image: image8.png]Bemass, b ut all aboul Taking T vight dociions



BUS = { YBUS } VBUS and  it is given as follow : Determine 
[image: image2.wmf]jx

.


[image: image3.wmf]ú

û

ù

ê

ë

é

Ð

Ð

ú

û

ù

ê

ë

é

-

-

=

ú

û

ù

ê

ë

é

Ð

Ð

0

0

0

0

2

.

117

158

.

1

5

.

67

848

.

1

2

2

3

45

2

0

2

jx

j

j

j


5. Define off nominal turns ratio of a transformer.
6. What do you mean by sparsity of a YBUS.
7. Define the transient stability.
8. Define Slack Bus.
9. Is inertia constant M of an alternator depends on the size of machine ?
10. Write the symmetrical transformation matrix ( TS) used in power system analysis.

Part – B (Subjective Type)

Max.Marks: 50

Answer any Five. All questions carry equal marks.
1. Obtain ZBUS of a graph of a power system network shown in fig 1, using algorithm for              ZBUS method.

[image: image4.jpg]@ Jea by @

JehPu Lod » 30y

91





The line impedances are given in p.u..

2. a.  Develop expression for short circuit analysis in phase quantities.

[ 5 ]

b. Using above expressions explain how LG fault and 3-phase to ground fault is analyzed.









[ 5 ]
3. A 2 bus system shown in Fig 2.


Y11 = Y22 =1.6  
[image: image5.wmf]Ð

-800 p.u. and Y21 = Y12 = 1.9 
[image: image6.wmf]Ð

1000 p.u. Determine the voltage at              bus - 2 by Gauss – Seidal method.

[image: image7.jpg]Pri &

b [ dne





Fig 2.

4. Explain in detail about the Sparsity Techniques used to obtain Z BUS of a power system network.

5. a.
Explain and derive the swing equation.




[ 5 ]
b. Explain about Runge – Kutta method with Flowchart.


[ 5 ]
6. Obtain the block diagram of a two area controlled power system network and solve the necessary equations. 

7. Write short notes on :
a. Short circuit analysis 







[ 5 ]

b. Load flow analysis of Power System Network.



[ 5 ]
------




A 10








PAGE  
Page 1 of 2

_1361599468.unknown

_1361599489.unknown

_1361598315.unknown

_1361598798.unknown

