[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS





Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 122EP11




                               Date: 18-Aug-2017 (FN)
M.Tech I-Year II-Sem External Examination, Aug- 2017 (Supplementary)
POWER SYSTEM STABILITY (EPE)
Time:
3 Hours







                    Max.Marks:60

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.







Part - A 



Max.Marks:10
Answer all QUESTIONS. EACH QUESTION CARRIES 1 MARK
	1.
	Briefly explain the phenomenon of voltage collapse.
	

	2.
	Write short notes on voltage stability margin.     


	

	3.
	Explain what you understand by voltage security.

	

	4.
	Write the assumptions made in modeling the synchronous machine in stability analysis of  Power system network.
	

	5.
	Write the various factors influencing transient stability.





	

	6.
	Explain emergency control measures used in transient stability.

           
	

	7.
	Write the various factors affecting voltage instability and collapse.                          
	

	8.
	Briefly explain how P-V curves are used to explain voltage stability.



	

	9.
	Briefly explain dynamic braking system in transient stability.




	

	10.
	Develop the rotor equations of a synchronous machine connected to infinite bus.  
	








Part – B



Max.Marks:50
ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 10 MARKS.
	1.
	a)
	Describe the difficulties with reactive power transmission and state the reasons for its minimization.  
	[5M]

	
	b)
	Explain various conclusions and observations that can be derived from single machine load bus (SMLB) system.
	[5M]

	
	
	
	

	2.
	a)
	Explain the elements of power system Jacobin matrix.
	[5M]

	
	b)
	Draw a flow chart for determination of minimum singular value of power Jacobin matrix[j].
	[5M]

	
	
	
	

	3.
	a)
	Discuss voltage stability margins with respect to compensated and uncompensated systems.
	[5M]

	
	b)
	Discuss the various methods of improving voltage stability along with its practical aspects.
	[5M]

	
	
	
	

	4.
	a)
	Develop the rotor equations of a synchronous machine connected to infinite bus.
	[5M]

	
	b)
	Explain about “induction machine model “used in power system transient stability studies.
	[5M]

	
	
	
	

	5.
	a)
	Explain equal area criterion in the method for improving transient stability.
	[5M]

	
	b)
	Derive the swing equation for synchronous machine connected to infinite bus system.
	[5M]

	
	
	
	

	6.
	a)
	Explain dynamic braking system in the analysis of transient stability.
	[5M]

	
	b)
	Explain discrete control of excitation system.
	[5M]

	
	
	
	

	7.
	a)
	How does the voltage collapse phenomenon occurs with variation of Q and explain with the help of Q-V curve?
	[5M]

	
	b)
	Explain the components of controlled series compensation in transient stability
	[5M]


-- 00 -- 00 –



Regulations:


A12








PAGE  
Page 1 of 1

