[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7X212  





                 
      Date: 09-Nov-2021 (FN)
M.Tech I-Year II-Semester External Examination, Oct/Nov - 2021 (Regular & Supplementary)
ADVANCED POWER SYSTEM PROTECTION (EPE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	With the help of block diagram explain the principle of operation of electromagnetic definite time over current relay.
	L1
	CO1
	[7M]

	
	b)
	Explain the transient Behavior of current transformers.
	L1
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Explain the operation of Quadrilateral Relay.
	L2
	CO2
	[7M]

	
	b)
	Explain the operation of Restricted Directional relay.
	L2
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain circulating current pilot relaying scheme. What is balanced voltage scheme?
	L3
	CO3
	[7M]

	
	b)
	What is carrier current protection? Explain the phase comparison scheme of carrier current protection with a neat diagram. What are its merits and demerits?
	L3
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Derive generalized mathematical model of distance relays for digital protection.
	L4
	CO4
	[7M]

	
	b)
	Explain differential equation technique digital relaying algorithms.
	L4
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Draw the block diagram of single chip microcomputer programmable interval timer
	L5
	CO5
	[7M]

	
	b)
	Write short notes on A/D converters.
	L1
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Draw the block diagram of microprocessor based impedance relay. Also explain its operation.
	L6
	CO6
	[7M]

	
	b)
	Realize the Directional Over current relay using Microprocessor based scheme.
	L6
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	What are the advantages and disadvantages of static relays?
	L1
	CO1
	[5M]

	
	b)
	Write short notes on Swiveling characteristics.
	L2
	CO2
	[5M]

	
	c)
	Explain the Balanced voltage (opposed voltage) Pilot relaying schemes for the protection of transmission line sections.
	L3
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Write a brief note on rationalized HAAR transform techniques.
	L4
	CO4
	[5M]

	
	b)
	Explain the generalized interface for distance relays by means of Digital relaying algorithm.
	L5
	CO5
	[5M]

	
	c)
	Derive the generalized mathematical expression for distance relays and realize the various types of distance relays using microprocessor.
	L6
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A19











PAGE  
Page 1 of 1

