[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7X213   





                 
      Date: 11-Nov-2021 (FN)
M.Tech I-Year II-Semester External Examination, Oct/Nov - 2021 (Regular & Supplementary)
FLEXIBLE AC TRANSMISSION SYSTEMS (EPE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	Explain power flow and dynamic stability considerations of a transmission line interconnection.
	L2
	CO1
	[7M]

	
	b)
	Illustrate the importance of controllable parameters in transmission system.
	L4
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Explain the basic concept of current source converter in detail.
	L2
	CO2
	[7M]

	
	b)
	Illustrate the operation of 3-ϕ full wave voltage source bridge converter for 12 pulse operation with relevant waveforms.
	L4
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain the operating characteristics and VI characteristics of STATCOM.
	L2
	CO3
	[7M]

	
	b)
	Why switching type converter generate and absorb reactive power? Illustrate one var generator with relevant control scheme.
	L4
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	Illustrate the operation of control scheme of TCSC.
	L4
	CO4
	[7M]

	
	b)
	Illustrate how series compensation improves 

i) Transient Stability

ii) Power Oscillation damping
	L4
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Illustrate the concept of voltage and phase angle regulation using phase angle regulators.
	L4
	CO5
	[7M]

	
	b)
	Explain briefly real and reactive loop power flow control in PAR.
	L2
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Interpret the operation of UPFC with neat circuit diagram.
	L5
	CO6
	[7M]

	
	b)
	Explain the independent real and reactive power flow control.
	L2
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Point out the benefits of FACTS controllers.
	L4
	CO1
	[5M]

	
	b)
	Compare voltage source converter versus current source converter.
	L5
	CO2
	[5M]

	
	c)
	Outline the objectives of shunt compensation.
	L4
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	Write a short notes on basic operation of SSSC.
	L1
	CO4
	[5M]

	
	b)
	Write a short notes on power flow control by using phase angle regulators.
	L1
	CO5
	[5M]

	
	c)
	Write about the transmission control capabilities of UPFC.
	L1
	CO6
	[4M]


-- 00 -- 00 –
H.T No





Regulations:


A19











PAGE  
Page 1 of 1

