[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7M208  





                 
      Date: 06-Nov-2021 (FN)
M.Tech I-Year II-Semester External Examination, Oct/Nov - 2021 (Regular & Supplementary)
STEAM ENGINEERING (TE)
Time:
 3 Hours







                    Max.Marks:70


 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 14 MARKS.

Bloom's Cognitive Levels of Learning (BCLL)

	Remember
	L1
	Apply
	L3
	Evaluate
	L5

	Understand
	L2
	Analyze
	L4
	Create
	L6


	
	 
	
	BCLL
	CO(s)
	Marks

	1.
	a)
	What is a boiler mounting? List the various boiler mountings and explain its functions.
	L2
	CO1
	[7M]

	
	b)
	Explain the procedure to be followed to determine the adiabatic flame temperature.
	L3
	CO1
	[7M]

	
	
	
	
	
	

	2.
	a)
	Explain the different techniques adopted to save the heat energy in a steam power plant.
	L2
	CO2
	[7M]

	
	b)
	What are the applications of refractory materials?
	L3
	CO2
	[7M]

	
	
	
	
	
	

	3.
	a)
	Explain why low-pressure steam is more efficient? 
	L3
	CO3
	[7M]

	
	b)
	Explain why steam is used as a heat transfer medium?
	L3
	CO3
	[7M]

	
	
	
	
	
	

	4.
	a)
	What are the limitations of direct method of boiler efficiency calculation over indirect method?
	L3
	CO4
	[7M]

	
	b)
	What are the factors which effects the boiler performance?
	L4
	CO4
	[7M]

	
	
	
	
	
	

	5.
	a)
	Explain the principle of economic scheduling. 
	L3
	CO5
	[7M]

	
	b)
	Discuss how power factor can be improved?
	L5
	CO5
	[7M]

	
	
	
	
	
	

	6.
	a)
	Discuss the various temperature measurement devices.
	L2
	CO6
	[7M]

	
	b)
	What is process instrumentation? Explain with suitable examples.
	L3
	CO6
	[7M]

	
	
	
	
	
	

	7.
	a)
	Explain the advantages of Mollier chart. 
	L3
	CO1
	[5M]

	
	b)
	Explain the importance of insulation materials used in steam power plant.
	L
	CO2
	[5M]

	
	c)
	List a few barriers to heat transfer in heat exchangers using steam.
	L3
	CO3
	[4M]

	
	
	
	
	
	

	8.
	a)
	List the various performance parameters of boilers.
	L2
	CO4
	[5M]

	
	b)
	Explain about economic viability of waste minimization.
	L3
	CO5
	[5M]

	
	c)
	What are the two basic types of pressure measuring devices? Explain the working principle.
	L3
	CO6
	[4M]


-- 00 -- 00 –

H.T No





Regulations:


A19











PAGE  
Page 1 of 1

