[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 6X105  





                 
      Date: 09-Oct-2020 (FN)
M.Tech I-Year I-Semester External Examination, October - 2020 (Supplementary)
HIGH VOLTAGE DC TRANSMISSION (EPE)
Time:
2 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.
	1.
	a)
	What are the various types of HVDC links? Explain in detail.
	[8M]

	
	b)
	Explain various steps involved in transmission planning.
	[7M]

	
	
	
	

	2.
	a)
	Write a short note on choice of converter configuration.
	[8M]

	
	b)
	Derive the expression for average DC output voltage of a six pulse converter without overlap.
	[7M]

	
	
	
	

	3.
	a)
	Explain the individual characteristics of rectifier and inverter operation with neat

sketches
	[8M]

	
	b)
	Explain about individual phase control system.
	[7M]

	
	
	
	

	4.
	a)
	Explain the sequential power flow in DC system model.
	[8M]

	
	b)
	What are the main sources of reactive power? 
	[7M]

	
	
	
	

	5.
	a)
	Discuss constructional difference of DC circuit breaker with AC circuit breaker
	[8M]

	
	b)
	What are the advantages of Multi-terminal DC links?
	[7M]

	
	
	
	

	6.
	a)
	Explain the operation of a hybrid active filter for DC filtering.
	[8M]

	
	b)
	Explain the analysis of a single tuned filter.
	[7M]

	
	
	
	

	7.
	a)
	Explain the causes of over voltages and over currents in converter station.
	[8M]

	
	b)
	Draw the typical layout of HVDC transmission system and explain each part.
	[7M]

	
	
	
	

	8.
	a)
	Discus parallel operations of AC and DC system.
	[8M]

	
	b)
	Write short notes on high pass filter.
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 1 of 1

