[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No: 7M103  





                 
      Date: 07-Oct-2020 (FN)
M.Tech I-Year I-Semester External Examination, October - 2020 (Regular)
ENERGY CONSERVATION AND MANAGEMENT (TE)
(Substitute subject for the Re-admitted student)

Time:
2 Hours







                    Max.Marks:70

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY FIVE QUESTIONS. EACH QUESTION CARRIES 14 MARKS.
	1.
	a)
	Describe the potential for solar energy in India and its utilization.
	[7M]

	
	b)
	Write notes on star rating methodology in India.
	[7M]

	
	
	
	

	2.
	a)
	Describe energy audit procedure for industrial units.
	[7M]

	
	b)
	List the energy metering devices and describe its working for any one device.
	[7M]

	
	
	
	

	3.
	a)
	Write notes on budget considerations for a project.
	[7M]

	
	b)
	How is the risk assessment done while starting a project?
	[7M]

	
	
	
	

	4.
	a)
	How is Investor’s Rate of Return Calculated? Illustrate with an example.
	[7M]

	
	b)
	What is Replacement Analysis? Explain.
	[7M]

	
	
	
	

	5.
	a)
	How are the energy flow networks optimized?
	[7M]

	
	b)
	Describe the latest developments in Energy Conservation technologies.
	[7M]

	
	
	
	

	6.
	a)
	How is the wind turbine performance measured? Describe the wind characteristics that influence the Wind Turbine Performance.
	[7M]

	
	b)
	Describe the working of a solar water heating system.
	[7M]

	
	
	
	

	7.
	a)
	What kind of data is gathered in the energy audit?
	[7M]

	
	b)
	How is the Internal Rate of Return estimated?
	[7M]

	
	
	
	

	8.
	a)
	What is a solar pond? Explain
	[7M]

	
	b)
	List functions of energy auditing.
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A19











PAGE  
Page 1 of 1

