[image: image1.jpg]Sreenidhi Institute of Science and Tm:hnnlngy

AUTONOMOUS






Sreenidhi Institute of Science and Technology

(An Autonomous Institution)
Code No:  6X216





                 
      Date: 13-Oct-2020 (FN)
M.Tech I-Year II-Semester External Examination, October - 2020 (Supplementary)
Restructuring in Electrical Power Systems (epe)
Time:
2 Hours







                    Max.Marks:75

 
Note:    a)  No additional answer sheets will be provided.

          

b)  All sub-parts of a question must be answered at one place only, otherwise it will not be valued.

          

c)  Missing data can be assumed suitably.

ANSWER ANY 5 OUT OF 8 QUESTIONS. EACH QUESTION CARRIES 15 MARKS.

	1.
	a)
	Explain different types of restructuring process in detail.
	[8M]

	
	b)
	Explain with neat diagram different entities involved in deregulation.
	[7M]

	
	
	
	

	2.
	a)
	Explain importance of economic load dispatch.
	[8M]

	
	b)
	Discuss the various constraints considered for economic load dispatch. 
	[7M]

	
	
	
	

	3.
	a)
	Explain in details the consumer behaviour and supplier behaviour in restructured power system.
	[8M]

	
	b)
	Explain different types of mark models based on contractual arrangements.
	[7M]

	
	
	
	

	4.
	a)
	Explain to calculate ATC using AC power flow analysis.
	[8M]

	
	b)
	Explain different methods of capacity alleviation method.
	[7M]

	
	
	
	

	5.
	a)
	Explain different types of ancillary service in restructured power system.
	[8M]

	
	b)
	Explain black start capability in ancillary service.
	[7M]

	
	
	
	

	6.
	a)
	Explain different Electricity act in deregulation environment.
	[8M]

	
	b)
	Explain briefly Availability based tariff in restructured power system.
	[7M]

	
	
	
	

	7.
	a)
	What is meant by unbundling in restructured power system.
	[8M]

	
	b)
	Explain in detail about benefits from electricity market.
	[7M]

	
	
	
	

	8.
	a)
	What is meant by frequency regulation in ancillary service
	[8M]

	
	b)
	What ate the principle following while designing transmission pricing.
	[7M]


-- 00 -- 00 –
H.T No





Regulations:


A17











PAGE  
Page 1 of 1

